        1 Friday, 6 July 2018

        2 (9.30 am)

        3 SIR MARTIN MOORE-BICK: Good morning, everyone. Welcome to

        4 today's hearing.

        5 We are going to hear further from Mr O'Keeffe in

        6 a moment but, before we do, Mr Millett has something he

        7 needs to deal with.

        8 MR MILLETT: Yes, Mr Chairman, thank you very much.

        9 Yesterday, I put to Mr O'Keeffe the response time

        10 for his appliance, and I put to him that it appeared to

        11 be outside the average response times which I'd taken

        12 from the London Fire Brigade's overview document which

        13 we got in May.

        14 In fact, that overview document is only describing

        15 average response times for the first and second

        16 responding vehicles and not any subsequent responding

        17 vehicles, even though part of the same initial response

        18 as part of a predetermined attendance.

        19 So I just wanted to make it clear that it is not

        20 suggested that, as the third arriving appliance,

        21 Mr O'Keeffe's appliance was outside the times for which

        22 we have evidence about average response times.

        23 SIR MARTIN MOORE-BICK: Yes. Thank you very much. Well,

        24 it's important to get that clear and I am grateful to

        25 you for doing so.
        1

        1 Well, then, if we could have Mr O'Keeffe in, please.

        2 Thank you.

        3 BRIEN O'KEEFFE (continued)

        4 Questions by COUNSEL TO THE INQUIRY (continued)

        5 SIR MARTIN MOORE-BICK: Good morning, Mr O'Keeffe.

        6 THE WITNESS: Good morning, sir.

        7 SIR MARTIN MOORE-BICK: Are you happy to carry on?

        8 THE WITNESS: I am happy to carry on, yes.

        9 SIR MARTIN MOORE-BICK: Thank you very much.

        10 Mr Millett.

        11 MR MILLETT: Mr O'Keeffe, good morning.

        12 A. Morning.

        13 Q. Thank you for coming back to us.

        14 Last night, I was attempting to show you some

        15 video -- a very short piece of video footage and the

        16 audio with it as well -- and I had better repeat,

        17 I suppose, for everybody's benefit, the trigger warning

        18 that we always give with videos of the building on fire

        19 and the audio that goes with it.

        20 What I'm about to show the witness is video and

        21 audio footage of Grenfell Tower on fire in the early

        22 part of that night, and so if anybody thinks they may

        23 find the images or the audio distressing, they should

        24 either leave the room here that they are in or else turn

        25 themselves away from the live stream as it's coming out.
        2

        1 Perhaps I should just leave 20 seconds or so for

        2 people to do that.

        3 SIR MARTIN MOORE-BICK: Yes, thank you.

        4 (Pause)

        5 MR MILLETT: The video should be queued up at 1.12. Perhaps

        6 we can now go to that.

        7 Now, Mr O'Keeffe, what I am going to show you is

        8 a short video clip, and I would like you to listen out

        9 very carefully for what is being said, as well as to

        10 look very carefully at what is happening on the screen.

        11 A. Okay.

        12 Q. Right, if you could play that, please.

        13 (Video played)

        14 Right. Now, did you hear anybody calling something

        15 that sounded like "Mike, Mike"?

        16 A. Yes.

        17 Q. What was that?

        18 A. I don't know actually, just someone calling the watch

        19 manager in charge, Mike Dowden.

        20 Q. If we could just play that again and see if we can get

        21 anything a bit more clearly from it. Just listen out

        22 again.

        23 A. Okay.

        24 Q. Also, watch what the fire is doing at the same time.

        25 (Video played)
        3

        1 Okay.

        2 A. It's difficult to pick it up. It's something about --

        3 possibly a number.

        4 Q. Yes. Yes.

        5 A. Well, as I spoke to you yesterday about, when I spoke to

        6 Watch Manager Dowden, following our discussion about the

        7 increase of pumps, I turned around and shouted to my

        8 pump operator, Firefighter Broderick, to make it six and

        9 an aerial. That could be that: make it six and

        10 an aerial.

        11 Q. It sounds -- I don't want to suggest this to you because

        12 we can all hear it, but let me ask you: might it be

        13 "Mike, Mike, make it six now"?

        14 A. It might be that, yes.

        15 Q. Was it you, do you think, calling him to do that?

        16 A. No, I -- because I -- it might have been, in hindsight,

        17 but I recall it as me telling him, you know, advising as

        18 a fellow officer, to make it six.

        19 Q. Right.

        20 A. And as I said yesterday, he said, "Do you think

        21 I should?" And I said yes, and he said, "Okay, can you

        22 do that for me?" And the sequence that followed was me

        23 turning around and shouting to my driver -- because as

        24 you can hear, there was a lot of noise, and that's the

        25 pump operating on the fire engine, pumping water. It's
        4

        1 quite loud. And there was a lot of noise in the area as

        2 you will at any -- on the initial attendance at any

        3 incident, there is a lot of action and a lot of noise

        4 associated with it, so officers generally and

        5 firefighters shout instructions to each other or

        6 communicate by -- we use our radios, but more commonly

        7 at the very beginning we shout at each other.

        8 Q. Now, in the video --

        9 A. Yes.

        10 Q. -- and we can play it again -- we saw burning material

        11 coming down from the window.

        12 A. Yes.

        13 Q. At that time -- so not very long after you'd arrived --

        14 do you remember looking up at the window and seeing

        15 burning material coming off?

        16 A. No, I remember flames coming out. There was no burning

        17 material coming off at that time. The flames were just

        18 coming out the window. There was energy behind -- when

        19 I say energy, there was -- when you have a compartment

        20 fire and it's developing and it's growing, it produces

        21 energy from the heat and it will push flame out any

        22 opening and pushes it about, and that's what I saw with

        23 the flame; that it wasn't just wispy flames, there was

        24 something burning. The kitchen was on fire, I'd

        25 imagine. And nothing burning -- material hanging down
        5

        1 or falling.

        2 Q. I wonder if we can move the video on to the next

        3 sequence, just to see what we can see there and to see

        4 whether or not that was something you saw.

        5 So the next sequence is, I think, at 01.15. Yes

        6 that's the one. If you could just play that.

        7 (Video played)

        8 Right. Now, there are two things about that:

        9 obviously the burning, falling material --

        10 A. I understand, yes.

        11 Q. -- and then the jet starting up, it looks, and then

        12 going on to the exterior of the building.

        13 Did you see burning material like that coming off

        14 the building at any stage?

        15 A. I don't recall seeing it. It would've concerned me if

        16 I'd seen that, with that extent, because it looks like

        17 there's a crackling with the material and, you know,

        18 there's a chemical reaction there or a thermodynamic

        19 reaction going on, which is unusual.

        20 But the angle you are showing me is opposite to

        21 where I was standing; I was on the other side by the

        22 front of the building when I spoke to Mike Dowden. So

        23 he's obviously moved in that direction to speak to the

        24 firefighters.

        25 Now, when the original jet of water, covering jet,
        6

        1 was put on, it was quite early on, relatively early on.

        2 And when they had knocked the jet off because, as I said

        3 yesterday, the BA crew had gone into the flat --

        4 Q. Yes.

        5 A. -- that's when I went to go to take over the bridgehead.

        6 Q. I see okay, so --

        7 A. That would've been when it was put back on afterwards.

        8 That's my understanding of it.

        9 Q. So you think that the covering jet we saw just there at

        10 about 1.15 was the second time the covering jet was

        11 applied, or do you not know?

        12 A. I do not know.

        13 Q. Okay.

        14 A. But it's close by. It's quite -- it's close by, so it's

        15 difficult for me to give you an accurate answer on that

        16 time-wise.

        17 Q. So you have your conversation with Mike Dowden just

        18 outside the front entrance to the building where you

        19 discuss the make-up.

        20 We know that he tasked you with going to run the

        21 bridgehead.

        22 A. He did, yes.

        23 Q. Was it in that same conversation that he did that?

        24 A. Yes.

        25 Q. I see. What happened immediately next? What did you do
        7

        1 immediately next?

        2 A. I went -- I said, "Okay, I will" and I walked towards

        3 the front of the building, and I was side-on, looking at

        4 the big glass windows. And as I walked towards --

        5 I noticed that there was smoke in the lobby. There was

        6 a lot of light grey smoke in there. It wasn't thick

        7 there, thick smoke, but light and it was blowing out

        8 with force, so I knew there was something mechanical,

        9 like mechanical ventilation, pushing it out the front

        10 doors.

        11 Q. You mean the ground floor entrance to the building?

        12 A. Ground floor, yes.

        13 Q. Really?

        14 A. Ground floor entrance, yes.

        15 Q. Right.

        16 You went to the lobby; how did you get into the

        17 lobby?

        18 A. I walked in.

        19 Q. The doors were open?

        20 A. As far as I remember, I just walked straight up.

        21 Q. At that stage, did you try to get entrance into the lift

        22 lobby within the building?

        23 A. Not the lift, because I asked Watch Manager Dowden if we

        24 had taken control of the fire lift and he said it wasn't

        25 working. And as I walked by, I could see a firefighter
        8

        1 trying to get it working still. I don't know who the

        2 firefighter was, I just looked to my left and then

        3 I went to go through the door to go up the stairs to the

        4 second floor, or to the glass balcony or whatever it is.

        5 Q. How did you get into the lift lobby? Did you need a fob

        6 or was it open?

        7 A. No, it was open. As far as I recall, I just walked

        8 straight through.

        9 Q. Right.

        10 Can I just ask you to look at a photograph which we

        11 looked at, I think, with an earlier witness,

        12 Mr O'Hanlon, which is INQ00000178. I just want to see

        13 if you can help me with the timing and the identity of

        14 firefighters.

        15 This is --

        16 A. That's Watch Manager Dowden.

        17 Q. Right. Okay. Did you see him do that? Did you see him

        18 come into the main entrance and --

        19 A. No, I didn't -- in the entire incident --

        20 Q. Yes.

        21 A. -- I didn't see Watch Manager Dowden in the tower.

        22 Q. You didn't?

        23 A. No.

        24 Q. I see. Okay.

        25 A. I believe he was in there at some stage, but I didn't
        9

        1 see him.

        2 Q. Right.

        3 Then if you go to INQ00000184, this is a picture of

        4 you, I think.

        5 Let me ask you: that is timed at 01.14.03, subject

        6 to adjustment --

        7 A. Yes, that's me.

        8 Q. That's you?

        9 A. Yes.

        10 Q. You are wearing a white helmet.

        11 A. That's correct. I'm a watch manager; that's my normal

        12 (inaudible).

        13 Q. So that I'm clear, the white helmet is a watch manager

        14 helmet?

        15 A. Correct. Well, a white helmet is any rank above crew

        16 manager.

        17 Q. Right.

        18 A. For example, watch manager, it's the band -- there's

        19 a band on the helmet, a stripe, and it's like the

        20 army: the higher you go up in the rank, you get more

        21 stripes and rank markings. That's a single band.

        22 A station manager, which is the next rank above me, will

        23 have a wider band, a group manager will have a wide band

        24 and a single band, and so on and so on and so on.

        25 Q. The incident commander will have the white surcoat or
        10

        1 tabard?

        2 A. He will have the surcoat, yes, yellow and white surcoat,

        3 with an insert in the rear of the surcoat indicating

        4 that he's the incident commander. So he would be the

        5 go-to guy or she would be the go-to person on the fire

        6 ground wearing that as a focal point for command.

        7 Q. Yes.

        8 If you go to the next photograph, number 185

        9 [INQ00000185], please, this is timed at 01.14.44 or so.

        10 A. Yes, that's me.

        11 Q. That's you again. And there are BA wearers going in, it

        12 seems.

        13 Do you know who they are?

        14 A. No.

        15 Q. Okay.

        16 Then the next one is timed at 01.14.49, so just

        17 a few seconds later, and it looks like you are holding

        18 the door open for them. That's you, is it?

        19 A. That's me.

        20 Q. Okay.

        21 A. I can't recognise the firefighters from this angle.

        22 Q. Okay. No.

        23 Now, just to go back to what you said a minute ago

        24 about smoke in the lobby and you said it was coming out,

        25 as it were, being forced out.
        11

        1 A. Yes.

        2 Q. Did that give you any cause for concern at that stage?

        3 A. Mild concern. You know, it's not entirely unusual to

        4 find smoke travel in a building during fire, given the

        5 proximity of the fire, which is on the fourth floor, but

        6 it's an indicator, you know, of smoke travel. In

        7 a compartmentalised building with fire doors and

        8 lobbies, you wouldn't ordinarily get smoke travel unless

        9 a door has been opened.

        10 But I knew there was a crew who would have gone from

        11 the bridgehead on the floor below with a jet, so that

        12 would cause smoke to come out of the -- when they made

        13 entry to the flat to go into the lobby and subsequently

        14 down to the bridgehead. But the idea of the bridgehead

        15 is that you're meant to be in a smoke-free environment,

        16 because we don't wear breathing apparatus -- the

        17 officers and the firefighters working in the bridgehead

        18 don't wear breathing apparatus.

        19 I hope that explains it to you, that there would be

        20 smoke travel.

        21 Q. Yes.

        22 A. But there seemed to be a lot of smoke.

        23 It was light, but I took it that maybe, perhaps, the

        24 ventilation system which never appeared to work

        25 beforehand had been repaired and it was just extracting
        12

        1 smoke.

        2 Q. You say the ventilation system never appeared to work

        3 beforehand --

        4 A. Well, it was kicking in and out. I've never seen that.

        5 That would signify to me that it was like an engine

        6 trying to start up and stopping.

        7 Q. That was the breathing you referred to yesterday?

        8 A. Yes, it was like inhalation and exhalation.

        9 Q. You then went up to the second floor where the

        10 bridgehead was, and you describe that in your witness

        11 statement on page 7, in the middle of the paragraph.

        12 You say:

        13 "I walked through the lobby door and up the stairs

        14 which sort of went around on itself; to a glass walled

        15 balcony, which was the second floor level. I got to the

        16 balcony and I spoke to CM SECRETT asking, 'What have you

        17 got?' He said it was a fire, and I think he said in a

        18 kitchen."

        19 Now, you said this morning that you'd gone past

        20 somebody in the lift lobby still trying to work the

        21 lift.

        22 A. Yes, I don't know who it was, it was somebody trying

        23 to -- because that's what firefighters are: they are

        24 determined. Maybe he or she was detailed to try and get

        25 it to work, but I was focused on going to the
        13

        1 bridgehead.

        2 Q. The person you saw on the balcony was definitely

        3 Chris Secrett, was it?

        4 A. I'm certain about it, yes.

        5 Q. You think somebody else, another firefighter, was also

        6 trying to get the lift to work?

        7 A. On the ground floor.

        8 Q. On the ground floor. That's your recollection, is it?

        9 A. That's correct, yes.

        10 Q. Okay. We'll need to explore that.

        11 Do you know who that other firefighter was?

        12 A. (Indicated dissent).

        13 Q. Were they wearing BA?

        14 A. No.

        15 Q. Not wearing BA?

        16 A. No.

        17 Q. Were they alone or with others?

        18 A. Alone.

        19 Q. They were alone. Right. Any other distinguishing

        20 features about that firefighter?

        21 A. Tall. Taller than me, anyway, but I'm not that tall, so

        22 tall.

        23 Q. Right. Well, we need to look for a tall firefighter.

        24 Fine.

        25 A. Many of them.
        14

        1 Q. Then you go up there.

        2 Can you explain at that stage where the bridgehead

        3 had been set up?

        4 A. So the bridgehead had been set up -- on the second-floor

        5 level, you had this glass -- how would you describe

        6 it? -- balcony -- I call it a balcony -- and just inside

        7 that, in the corridor in the lobby, BA had been set up,

        8 meaning breathing apparatus entry control board, which

        9 had Firefighter De St Aubin as the operator and

        10 Chris Secrett, the crew manager, was in charge of the

        11 bridgehead.

        12 Q. You say you spoke with Mr Secrett on the balcony; was

        13 that where the bridgehead was, on the balcony?

        14 A. Close to it.

        15 Q. Where was Chris Secrett going? Was he standing there or

        16 was he coming away --

        17 A. He was standing there. He was doing his job.

        18 Q. How far away from the bridgehead was he?

        19 A. He was in the bridgehead.

        20 Q. Was the bridgehead on the balcony or --

        21 A. No, no, the balcony was quite close to the bridgehead,

        22 it was just the way it was situated. I believe -- I've

        23 seen some photographs of the inside --

        24 Q. Yes.

        25 A. -- and if you could show me a photograph, I could
        15

        1 explain more clearly to you.

        2 Q. Yes, I can show you a plan.

        3 A. Okay, that's fine.

        4 Q. I could do that.

        5 If you could go, please, or be shown tab 5 of the

        6 master docs bundle. I'll just see if I can show you

        7 a plan of the second floor. This is MET00012593.

        8 If we just expand it. I showed Mr Secrett this

        9 yesterday morning. This is a plan of the second floor,

        10 Mr O'Keeffe, and you can see the atrium or ground floor

        11 in the bottom right-hand corner.

        12 A. Yes.

        13 Q. The stairs go up, and then there's the walkway gallery,

        14 which I think you're describing as the balcony.

        15 A. The walkway gallery is what I'm talking about. So

        16 inside the walkway gallery, in there, it's in the

        17 communal hall is where the bridgehead was set up.

        18 Q. Where do you think Mr Secrett was when you saw him and

        19 had this conversation?

        20 A. He was standing in the narrow section beyond the steps

        21 up.

        22 Q. So --

        23 A. There, yes.

        24 Q. I see. So you go out of the walkway gallery, turn right

        25 into that corridor there.
        16

        1 A. He may have been in a bit further, but it was in that

        2 area. So it was either by the lifts -- I don't think we

        3 were by the lifts, but in the communal hall he would've

        4 been.

        5 Q. That makes that much clearer.

        6 Now, can you explain to us what the bridgehead

        7 looked like at that time, in terms of --

        8 A. Calm. A working bridgehead, you know. There was

        9 an entry control board set up. The BA wearers -- there

        10 was two BA wearers. They had one line of hose working.

        11 Q. Right.

        12 A. And that was it.

        13 Q. That was it. Was there anything missing from that?

        14 A. Yes.

        15 Q. What?

        16 A. Well, it was an IEC pack that was missing, which

        17 I mentioned to Chris. Apparently it was nearby but

        18 hadn't been brought up, but I asked for it to be brought

        19 to the bridgehead. This is when I took over as the

        20 bridgehead commander.

        21 Q. Yes.

        22 Did you test the communications between the

        23 bridgehead and Mike Dowden?

        24 A. Yes, I spoke to Mike Dowden.

        25 Q. How were those?
        17

        1 A. Good. They were good.

        2 Q. Good, okay.

        3 A. I mean, I'm sure we'll get to it, but there was quite

        4 a lot of communication between the bridgehead and the

        5 incident commander Mike Dowden initially.

        6 Q. We will get to it, but initially there was no problem,

        7 was there?

        8 A. Afterwards, yes.

        9 Q. Afterwards, but not at that stage.

        10 A. Significant.

        11 Q. Now, you say in the middle of page 7:

        12 "I told him I was taking over from him as Bridgehead

        13 Commander, as I was a rank senior to him."

        14 A. Correct. And I had been detailed by the incident

        15 commander, which I haven't put in there, but that's --

        16 yes.

        17 Q. Right.

        18 Did Crew Manager Secrett give you a handover

        19 briefing?

        20 A. He did.

        21 Q. What did he tell you?

        22 A. Well, I asked him, "What have you got?", which is how we

        23 speak to each other. He said they had a job in the

        24 kitchen. "What are you using?" He said, "We've got one

        25 line of hose and a BA crew in there". "How much is
        18

        1 alight?" He said he didn't really know but it wasn't

        2 that bad. But they were making progress.

        3 I said to him, "Okay, I'm taking over", and then

        4 I detailed him -- I said, "What I want you to do is get

        5 me a second line of hose with a BA crew to deploy

        6 a backup jet, get me an IEC pack", and I think there was

        7 one further crew in the lobby -- sorry, I forgot to

        8 mention a further crew in the lobby at that time --

        9 which is Crew Manager Stern and Firefighter Hippel from

        10 Kensington, who were standing by. So he went to do

        11 that.

        12 Q. You say:

        13 "He told me, and I realised that it wasn't enough

        14 and that back up crews were required."

        15 Is that standard practice for all high-rise fires?

        16 A. I can explain to you.

        17 Q. Yes, please.

        18 A. The initial attendance to a high-rise fire could be one

        19 fire engine or it could be two fire engines, depending

        20 on the first people to get there. That's -- not the

        21 initial attendance -- yes, the initial attendance --

        22 Q. That's not the same as predetermined attendance?

        23 A. No, no, no, no, it's the first people to attend, so it's

        24 like the first police car to attend an incident.

        25 Q. Okay.
        19

        1 A. It's essential that the first fire engine that arrives

        2 puts in the building blocks for a successful attack on

        3 a fire. And what we first have to do is we have to

        4 secure water supply, so locate a hydrant, locate the

        5 inlet, the dry riser or wet rising main. If it was

        6 a wet rising main, we locate the pump room, et cetera.

        7 We secure water to the building, which is what North

        8 Kensington did, and set up a bridgehead.

        9 The initial attack can be one line of hose. Our

        10 national operation guidance stipulates that when

        11 resources are low, a second jet should be laid out. In

        12 reality, we like to do it all at once, to have two jets

        13 up and running, but it's not always possible because of

        14 the dynamics of firefighting and life risk. If we can

        15 put in a safe system of work with one jet initially to

        16 make an attack, the other one should be, if the PDA is

        17 working correctly, have other appliances coming on, as

        18 I was, to provide additional resources and backup.

        19 Q. Okay.

        20 A. Does that make --?

        21 Q. Yes, thank you for that explanation.

        22 So at that stage -- is this right? -- Crew Manager

        23 Secrett had only deployed one --

        24 A. Correct.

        25 Q. -- pair of BA wearers with one branch?
        20

        1 A. That's correct.

        2 Q. And you wanted a second backup pair --

        3 A. Correct, and a third. I chose to put in another crew

        4 for hose management as well.

        5 Q. Why was that?

        6 A. Because it's difficult to manage hose. So hose, when

        7 it's charged, is unwieldy. If you've two jets, they

        8 kink around corners, they're very hard to move, and what

        9 can happen, if you've only got a BA crew on a jet, say

        10 45-millimetre charged two or three lengths of hose, it

        11 can be difficult because the BA crew will have to

        12 separate, which we don't like. Firefighters need to

        13 stay together for safety reasons and just to look out

        14 for each other.

        15 So if I'm going to a compartment fire and I've only

        16 got 2 metres of hose in there and I need 5 metres of

        17 hose in there, you know, I would have to go back as

        18 a firefighter and pull hose around the corner. It's

        19 very labour-intensive, and if you're in a fire

        20 compartment, if you've got guys backing you up to do

        21 that for you, it makes sense.

        22 Q. Right. I see.

        23 Now, I think you then go on to say that you

        24 committed a third crew.

        25 A. I did.
        21

        1 Q. Do you remember who they were?

        2 A. I do. So Hammersmith's pair, they were on the second

        3 jet, I believe, and one of my firefighters, who is very

        4 experienced, Firefighter Hippel -- he's done 30 years,

        5 he's quite a switched on guy -- he said to me, "Do you

        6 think we could give a hand?" I said, "Actually, guys,

        7 you can, go under air and help with hose management".

        8 Q. I see. So you had the first crew, Batterbee and Brown,

        9 second crew, Hammersmith firefighters Barton and

        10 O'Hanlon.

        11 A. Yes. They were there to protect the first crew.

        12 Q. Yes. And then you had the third crew -- is this

        13 right? -- doing hose management?

        14 A. Correct.

        15 Q. Richard Hippel, and another one?

        16 A. Jamal Stern.

        17 Q. Jamal Stern. Okay, we'll come back to what they do

        18 later on.

        19 Now, if we look at the bottom of page 7 of your

        20 statement, you say you received a message by radio from

        21 the BA crew that the fire was out.

        22 A. Correct.

        23 Q. How long after arriving at the bridgehead --

        24 A. Not long, actually. 5 minutes, 10 minutes. I don't

        25 know. It was pretty quick.
        22

        1 Q. Okay. 5 minutes, 10 minutes?

        2 A. Relatively quick, you know.

        3 Q. Who, do you remember, sent that message?

        4 A. Crew Manager Batterbee.

        5 Q. Batterbee?

        6 A. Yes.

        7 Q. Right. Was that by BARIE radio?

        8 A. A BARIE radio, yes, I think. I can't remember exactly,

        9 but I contacted them, the BA crew, for a progress report

        10 or an update.

        11 Q. Right.

        12 A. And they said the fire's out, so I thought that was

        13 a good, swift attack and that we had gotten on top of

        14 it.

        15 Q. Okay. Then you say, four lines up from the bottom:

        16 "I asked Charlie BATTERBEE the Crew Manager from

        17 North Kensington, 'Charlie, is the fire out?' He said,

        18 'The fire is out.'"

        19 A. Yes.

        20 Q. Why did you have to ask him that question?

        21 A. That's what I always ask, you know, to clarify it. When

        22 you're at an incident, there's a lot going on, there's

        23 a lot of noise, a lot of activity, quite action centric.

        24 As a watch manager or an incident commander, I would

        25 always double, sometimes triple check issues regarding
        23

        1 fire spread. So it's a bit like the police; we repeat

        2 things twice so there's clarification on radio

        3 transmission. So I say, "Is the fire out?" and he goes

        4 "Yeah", and I say, "Can you confirm?", is what I would

        5 say, "Can you confirm the fire is out?" He answers,

        6 "Yes", which is how we speak.

        7 Q. So the way you remember it, did you radio him and he

        8 told you and then you asked for the confirmation --

        9 A. Yes, yes.

        10 Q. -- or did he radio down to you?

        11 A. He could possibly have radioed me, but we had this

        12 conversation on the radio.

        13 Q. Did you have any difficulties with communication or

        14 hearing him at that stage?

        15 A. None whatsoever, no.

        16 Q. Now, pausing there, we have in the ORR a message timed

        17 at 01.21.15, which is -- well, you can see it's about

        18 8 minutes after you came into the building.

        19 Would that be about right in terms of your

        20 recollection?

        21 A. Could be.

        22 Q. Okay.

        23 A. I don't know.

        24 Q. We also know that Batterbee tallied in at 01.32.11.

        25 So he then comes down. You say at the bottom of
        24

        1 page 7 of your statement:

        2 "I asked the BA crews to come and see me because

        3 that's my manner, to make face-to-face contact."

        4 A. Correct.

        5 Q. "I asked Charlie BATTERBEE the Crew Manager from North

        6 Kensington, 'Charlie, is the fire out?' He said, 'The

        7 fire is out."

        8 We discussed that a minute ago as if that was

        9 a radio discussion. I'm just wondering whether in

        10 fact --

        11 A. This was a face-to-face discussion.

        12 Q. That was a face-to-face discussion?

        13 A. Yes.

        14 Q. I see. But the message that you've just been talking

        15 about was one over the radio?

        16 A. On the radio, and then I said, "Come and see me" -- over

        17 the radio I said, "Come and see me", which is -- again,

        18 it's not uncommon for an incident commander to do that

        19 or sector commanders.

        20 Q. Right, okay. I probably rushed you a little bit here,

        21 so let me just see --

        22 A. You have a bit, actually, I was going to explain.

        23 Q. Yes.

        24 A. There was radio -- this is --

        25 Q. Let's take it slowly.
        25

        1 A. So every fire we would go to, if it's extinguished, just

        2 this very specific detail, I would say every experienced

        3 watch commander or operational officer will ask for

        4 verification of details over the radio first and then

        5 face-to-face.

        6 Q. Right.

        7 A. Because it is a very important communication. If you

        8 say the fire's out, that's a big communication. It's

        9 an important one.

        10 Q. Yes, I understand.

        11 So just to take it a bit more in stages than we

        12 were: you have the discussion over the radio.

        13 A. Yes.

        14 Q. Either he radios you or you radio him.

        15 A. Yes.

        16 Q. He tells you the fire is out, you ask him to confirm, he

        17 says yes.

        18 A. Yes.

        19 Q. We have that radio message timed at 01.21.15. He then

        20 comes down to the bridgehead -- is this right?

        21 A. Correct.

        22 Q. And you then have a face-to-face debrief?

        23 A. He's still wearing breathing apparatus, because he's

        24 come to see me, which is I think polite of him, he

        25 could've gone to the BA board and shut down first, but
        26

        1 he came straight to see me because I wanted him to come

        2 and see me. I was standing to the right of the BA board

        3 and I just said to him face-to-face, "Can you confirm

        4 the fire's out?" He said "Yes". I said, "Good job".

        5 Or something along those lines.

        6 Q. When you had that face-to-face conversation had he yet

        7 tallied back in?

        8 A. No.

        9 Q. I see. Did he tally back in after that conversation?

        10 A. After that conversation, because I told him to go and do

        11 a fire ground A test because things had gone wrong

        12 during the conversation. As I was speaking to him,

        13 things started to -- information started coming in and

        14 I heard shouts and screams as we were talking.

        15 Q. You say that in your statement at the bottom of page 7.

        16 We'll come to that in just a moment.

        17 Just before we do, after that conversation, before

        18 he tallied in, did you see him then tally in?

        19 A. No.

        20 Q. You didn't.

        21 A. I told him to go, do a fire ground A test. I had more

        22 urgent matters to attend to immediately.

        23 Q. What about Firefighter Brown?

        24 A. Didn't see him.

        25 Q. Didn't see him?
        27

        1 A. No.

        2 Q. So you didn't have a debrief with him?

        3 A. No, my assumption is that Danny Brown,

        4 Firefighter Brown, went to the BA board. Again, it's

        5 an assumption. I would say they had a conversation and

        6 Charlie probably said, "I'm going to talk to the watch

        7 manager" and -- yes.

        8 Q. Yes.

        9 We have a tally in time for Firefighter Batterbee of

        10 1.32.11, so we know that he did tally in.

        11 Just to go back and press a little bit, do you think

        12 the conversation that you had with him about what he'd

        13 seen, the fire being out, was before he tallied in?

        14 A. Yes.

        15 Q. It was. Okay.

        16 A. When you say "tallied in", that's not the terminology we

        17 use; "shut down" is what we say. You shut down your

        18 set, meaning after you've had a wear, you shut it down

        19 and you report to entry control and you get your tally

        20 back. You're using the terminology "tally in"; we don't

        21 use that. We say you put a tally into the entry control

        22 board. I'm being pedantic here, but is that what you

        23 mean?

        24 Q. It is. We have a number of times on our telemetry data,

        25 one of which is "Tally in (to bodyguard)", another is
        28

        1 "End of wear time", another is "Bodyguard switched off"

        2 and another one is "Logged off".

        3 A. Yes. Well, logged off -- you should be logged off

        4 immediately. Once you go back to the entry control

        5 board, you shut your set down and then you're logged off

        6 by the entry control officer and you're given your tally

        7 back.

        8 Q. We don't have times for logging off for that, but we

        9 have him tallying in to bodyguard at 01.32.11, end of

        10 wear 01.29.03 and his bodyguard switched off at

        11 01.29.42?

        12 A. Well, that's accurate.

        13 Q. Yes, it's accurate. It comes from established telemetry

        14 data. So I've been using tally in to bodyguard --

        15 A. That's fine. That's okay.

        16 Q. All right. Thank you.

        17 A. You're not a firefighter, so you wouldn't know.

        18 Q. No, no. Not yet!

        19 So that's the tally-in time.

        20 A. Yes.

        21 Q. You think the conversation you had was before that.

        22 Okay.

        23 Now, you then say -- well, sorry, let me just ask

        24 you this: you had a face-to-face discussion with him.

        25 A. Yes.
        29

        1 Q. Do you remember whether Charlie Batterbee, during that

        2 discussion, said anything to you about seeing falling,

        3 burning material?

        4 A. No, no, absolutely not.

        5 Q. Right.

        6 In his oral evidence, Charlie Batterbee said that he

        7 did report to you that he had seen fire on the exterior.

        8 A. He didn't.

        9 Q. He didn't tell you?

        10 A. No, he didn't tell me that, no. He told me the fire was

        11 out. That was it.

        12 Q. That was it?

        13 A. That was it.

        14 Q. Are you clear in your --

        15 A. Absolutely certain about it.

        16 Q. Okay.

        17 Then at the bottom of page 7, you say:

        18 "And then, in what seemed like seconds, but was

        19 probably a minute later, it all changed. There was

        20 consternation and shouting. The atmosphere changed very

        21 quickly and everything seemed immediately different."

        22 Where was Charlie Batterbee at that moment?

        23 A. Couldn't tell you. I would say -- well, I could tell

        24 you, but I don't know physically where he was, but he

        25 was on his way back to do an A test. I've asked him to
        30

        1 do an A test quickly because I needed more BA wearers.

        2 I knew I would because I had information that the fire

        3 was jumping.

        4 Q. I was about to ask you: when you say "it all changed",

        5 can you just describe for us what changed?

        6 A. It went from being a calm, good job, you know, the

        7 fire's out, to people screaming and shouting. The radio

        8 starts. My handheld radio started going with a message

        9 saying the fire's jumping. I don't know which

        10 firefighter it was, but somebody said there's fire on

        11 the fifth or the sixth, or there's fire on the fifth,

        12 there's fire on the fifth, and he kept repeating it in

        13 an excited, or in an alarmed way.

        14 Q. First of all, you say there was screaming and shouting.

        15 Who was --

        16 A. Shouting and a couple of screams upstairs. I could hear

        17 it.

        18 Q. Right. I'm sorry --

        19 A. Consternation is how I describe it.

        20 Q. So you, standing on the bridgehead, second floor --

        21 A. Yes.

        22 Q. -- where you showed us, could hear screams?

        23 A. Yes, a scream, shouts, and general commotion.

        24 Q. Right.

        25 A. And the radio started operating.
        31

        1 Q. The screaming, shouting and general commotion, was that

        2 coming from firefighters or from others?

        3 A. Probably -- I'd say some of the shouts were coming from

        4 firefighters, but from residents also.

        5 Q. Right. And did residents start coming down?

        6 A. Not immediately, but very soon they did.

        7 Q. Right. We'll come to this shortly, but let --

        8 A. Okay. Quite a lot happened in that 5 minutes. So much

        9 happened. Different things -- everybody started moving

        10 really quickly, the noise became elevated, and the level

        11 of alarm became elevated.

        12 Q. Let's see if I can try and take this in bits.

        13 A. Okay, that's fine.

        14 Q. So fifth floor, you say -- and you said in your

        15 statement -- the crew transmitted that there was smoke

        16 on the fifth floor.

        17 A. Correct.

        18 Q. Did you get that information?

        19 A. I did.

        20 Q. Who did you get that from?

        21 A. Don't know, a firefighter. Can't remember which one it

        22 was.

        23 Q. Okay. From your fire ground radio?

        24 A. Correct.

        25 Q. Was the firefighter who gave you that information inside
        32

        1 the tower?

        2 A. Inside the tower.

        3 Q. Right. Did you know that a firefighter had gone up

        4 above the fire floor to --

        5 A. No.

        6 Q. -- investigate?

        7 A. No.

        8 Q. Right.

        9 A. And the reason I don't know that is because we were the

        10 third machine to arrive, and if firefighters from North

        11 Kensington were inside the tower, which I would expect

        12 them to be to help their colleagues, then I -- but

        13 I wouldn't know where they were exactly.

        14 Q. At this stage, Alex De St Aubin was running the BA entry

        15 control.

        16 A. He was, yes.

        17 Q. Do you know whether he said anything about knowing that

        18 a firefighter had gone up?

        19 A. No, he didn't say anything about it.

        20 Q. Did Mr Secrett tell you --

        21 A. No.

        22 Q. -- that someone had gone up into --

        23 A. No, no.

        24 Q. Okay.

        25 To be clear, you say the crew transmitted there was
        33

        1 smoke on the fifth floor?

        2 A. Mm.

        3 Q. Smoke or anything more than smoke?

        4 A. Smoke.

        5 Q. So no reference to fire on the fifth floor?

        6 A. There was other information, they seemed alarmed, but

        7 I can't remember what it was, but they said smoke and

        8 they said heavy smoke-logging. And then I had a BA crew

        9 come to me, which was Crew Manager Stern and

        10 Firefighter Hippel came -- well, they were under air,

        11 they came down to the bridgehead and they said to me,

        12 "Governor, someone said there's a fire on the fifth

        13 floor".

        14 Q. Right. I'm going to come back to that in just a moment,

        15 but before I do, can I ask you: when you heard

        16 a firefighter tell you by your fire ground radio that

        17 there was smoke on the fifth floor, did you communicate

        18 that to Mike Dowden?

        19 A. I did, yes. I think I did. I think I most certainly

        20 would've done, but I can't recall exactly what I said to

        21 him.

        22 Q. How did you or do you think you communicated that to

        23 him?

        24 A. By radio.

        25 Q. Right. Did he respond, do you remember?
        34

        1 A. I can't recall, but I can recall about a minute later

        2 calling him on my radio and exactly what we said to each

        3 other.

        4 Q. What was that?

        5 A. Well, I sent the crew that came down to me to

        6 investigate. I must say, I wasn't overly concerned

        7 because you will get smoke travel. As far as I was

        8 concerned, they had extinguished the fire and, in doing

        9 so, some smoke had gone -- during the process, smoke had

        10 travelled up to the fifth floor. So, again, that's not

        11 unusual at a fire, so I sent a BA crew to investigate.

        12 Q. But you also said that you heard screaming and

        13 consternation.

        14 A. Yes, shouts and general consternation or -- yeah, noise.

        15 And I sent the BA crew there and they went there really

        16 quickly -- it seemed like seconds to me -- and they

        17 actually reported to me that they were on the sixth

        18 floor.

        19 Q. Okay. We're getting ahead a bit too quickly. Can

        20 I just take it slightly more slowly.

        21 A. Yes.

        22 Q. Because I know there's a lot that happened and I just

        23 want to try and take it in pieces.

        24 A. There was a lot that happened, yes.

        25 Q. You say you had a conversation with Mike Dowden by radio
        35

        1 a minute later, after being told that there was smoke on

        2 the fifth floor. Could you just tell me --

        3 A. No. When there was smoke reported, I would've said to

        4 him there's smoke reported. That's the sort of thing

        5 you would say to your colleague or incident commander.

        6 Q. Did he respond to that?

        7 A. I can't remember.

        8 Q. Okay.

        9 A. I do not remember if there was -- quite a lot of radio

        10 traffic then.

        11 Q. Then you say you committed Stern and Hippel to go to the

        12 fifth floor.

        13 A. When I say committed, I retasked them. They were in BA

        14 already.

        15 Q. Where were they standing?

        16 A. They came down to face me in the bridgehead.

        17 Q. Right. You say they came down --

        18 A. The stairs. They stood at the entrance to the stairs to

        19 the third floor.

        20 Q. Had they already been up?

        21 A. Yes. They'd been hose management.

        22 Q. How far up in the building had they gone to do hose

        23 management?

        24 A. On the fourth floor.

        25 Q. They were on --
        36

        1 A. If you're hose managing, you would be between the third

        2 and fourth floor at that time.

        3 Q. Would they have been under air --

        4 A. They were under air, yes.

        5 Q. -- at that point?

        6 A. Yes.

        7 Q. Do you know why they came back down to the bridgehead?

        8 A. Because they wanted to tell me there was a problem.

        9 They could hear the radio just as well as I could.

        10 Possibly they had seen something. I don't know exactly.

        11 But they're experienced people, those two guys, and they

        12 came and said to me, quite clearly, there's reports --

        13 they said reports of fire on the fifth floor as opposed

        14 to smoke. The radio transmission said smoke; they said

        15 fire and smoke, as I recall.

        16 Q. I see.

        17 A. On the fifth floor.

        18 Q. So let me see if I can get this right.

        19 You'd already tasked Hippel and Stern to go to do

        20 hose management on the fourth floor?

        21 A. On the fire floor, yes.

        22 Q. On the fire floor.

        23 A. Well, between, you know, to help out with the hose.

        24 Q. Yes, and they were doing that under air.

        25 A. Correct.
        37

        1 Q. So they had already tallied out, as I call it.

        2 A. Yes.

        3 Q. Yes. And we have their times of tallying out at

        4 01.17 -- that's not to the nearest second, 01.17 or

        5 so -- and then you say they heard the message over the

        6 radio that there was --

        7 A. They heard something. They saw something or they heard

        8 something --

        9 Q. So they came down to the bridgehead.

        10 A. -- that concerned them enough to come and see me

        11 personally.

        12 Q. Then they come to the bridgehead and you then tell them

        13 to do what?

        14 A. Go and tell me what's happening on the fifth floor.

        15 Q. Right.

        16 A. As quickly as you can.

        17 Q. Going back to your statement, they then go up and you

        18 say they went to the fifth; is this right?

        19 A. They went past -- they went to the fifth and, as I found

        20 out later, not that night, they went to the fifth and

        21 they continued to the sixth.

        22 Q. Did they stop on the fifth, do you know?

        23 A. I don't know.

        24 Q. They went to the sixth, and you say in your statement,

        25 two lines down from the top of page 8:
        38

        1 "I spoke to Jamal STERN via the Fire ground radio.

        2 I can't remember exactly what he said but it was

        3 something like 'It's fucked! It's going! It's completely

        4 smoked out, on this floor.'"

        5 A. That's what he said.

        6 Q. That's what he said?

        7 A. More or less. He was quite alarmed -- really alarmed,

        8 actually.

        9 Q. Okay. What did you tell them to do?

        10 A. Well, I immediately transmitted the message to the

        11 incident commander.

        12 Q. Right.

        13 A. I said it's jumping, "The fire's jumping, Mick", as

        14 I know him as, and he said, "I know, I know, I can see

        15 it on the outside, I can see it on the outside", he

        16 said, and it wasn't because he wanted me to understand

        17 what he was saying; he was heightened or his senses were

        18 heightened. I said, "It's jumping, it's jumping, it's

        19 going on the fifth and the sixth", and he said, "I know,

        20 I can see it jumping on the outside". It was happening

        21 simultaneously that he could see what was happening

        22 outside, whereas I could see -- or hear, not see,

        23 hear -- what was happening on the inside.

        24 Q. I see.

        25 So when you had been told by Jamal Stern on the
        39

        1 sixth floor, you reported that to Mike Dowden and you

        2 had a conversation about that?

        3 A. Yes.

        4 Q. He said, "I know, I can see it's jumping on the

        5 outside"?

        6 A. I told him to make pumps eight, or I advised him to make

        7 pumps eight. I said, "Make it eight, make it eight",

        8 and he said, "I'm doing it, I'm doing it", and then

        9 I said to him -- okay, I'll let you ...

        10 Q. We'll come to that.

        11 Before we do, were you concerned at that stage?

        12 A. Extremely.

        13 Q. What were you concerned about?

        14 A. The fire spreading up into other apartments. I thought

        15 we'd get on top of it. We've had fire spread before,

        16 and my plan was to flood it with BA and then

        17 firefighting equipment to get hold of it. That's what

        18 we do.

        19 Q. Now, at that stage, just summarising it, we have you at

        20 the bridgehead knowing there's fire on the fifth and

        21 sixth floor, and we've got Mike outside who can see

        22 what's happening outside.

        23 A. Yes.

        24 Q. Did you have a discussion with Mike Dowden about

        25 evacuation of the fifth floor or sixth floor?
        40

        1 A. Not at that time.

        2 Q. Is there a reason why that wasn't a subject for

        3 discussion?

        4 A. The reason was, my understanding of it is that as

        5 a bridgehead commander, I'm faced with spread and

        6 possibly other persons involved, and the fire's moving

        7 really quickly, I mean rapidly, but I thought we'd get

        8 it, so my communication with him was to give me

        9 everybody he had spare on the fire ground in BA now with

        10 firefighting kit.

        11 Q. You say "I thought we'd get it"; do you mean that you

        12 thought you'd be able to extinguish the fire without any

        13 evacuation?

        14 A. Yes.

        15 Q. What made you think that?

        16 A. Experience.

        17 Q. Had you experienced fire spread of this nature before?

        18 A. Not that quickly.

        19 Q. So in the light of the fact that you hadn't seen fire

        20 spread that quickly before, how did your experience help

        21 you to decide that you shouldn't evacuate at that stage?

        22 A. Because I thought it had jumped two floors. We already

        23 had two BA crews with jets in. We had one BA crew come

        24 out. We already had two charged jets in there. And if

        25 I was to have additional jets and crews -- I knew what
        41

        1 we had on the fire ground at that time -- I thought we

        2 would stop it, at least try to stop it.

        3 And you're asking me about why we didn't discuss

        4 evacuation -- well, we did of sorts about 30 seconds

        5 after that.

        6 Q. What was that discussion?

        7 A. Rescues.

        8 Q. Rescues?

        9 A. It's a type of evacuation, but it's a rescue, multiple

        10 rescues.

        11 Q. Who did you have that discussion with?

        12 A. Mike Dowden.

        13 Q. Do you remember what you said to him?

        14 A. Not exactly. We had multiple calls started coming in

        15 immediately. I wasn't aware the fire was jumping up

        16 through the building. And -- can I have a break?

        17 MR MILLETT: Absolutely. Of course you can. Absolutely.

        18 SIR MARTIN MOORE-BICK: All right, you'd like to take

        19 a break now?

        20 THE WITNESS: Yes, I would.

        21 SIR MARTIN MOORE-BICK: Of course, we'll do that.

        22 10 minutes?

        23 MR MILLETT: Yes.

        24 SIR MARTIN MOORE-BICK: Thank you very much.

        25 Don't discuss your evidence, please.
        42

        1 We'll come back at 10.30, please.

        2 (10.21 am)

        3 (A short break)

        4 (10.30 am)

        5 SIR MARTIN MOORE-BICK: Mr Millett, while we are waiting for

        6 Mr O'Keeffe, I think it would be sensible if we ran for

        7 another, say, 40 minutes or thereabouts and then had

        8 another break for the witness's benefit.

        9 MR MILLETT: Yes, I think so. If we can now have him back.

        10 SIR MARTIN MOORE-BICK: I think he is on his way.

        11 (Pause)

        12 Are you comfortable to carry on?

        13 THE WITNESS: I am, certainly, yes.

        14 SIR MARTIN MOORE-BICK: I think we'll all benefit from a few

        15 breaks during the morning, so I've asked Mr Millett to

        16 find a convenient moment in about 40 minutes. Do you

        17 think that's all right?

        18 THE WITNESS: Yes.

        19 SIR MARTIN MOORE-BICK: All right, we'll do that.

        20 MR MILLETT: Mr O'Keeffe, thank you.

        21 Now, I just want to go back to what we were looking

        22 at before the break, which is a discussion you had with

        23 Mike Dowden about rescue.

        24 A. Yes.

        25 Q. Now, my question is: against the context of you having
        43

        1 sent Hippel and Stern up and they've reported to you, do

        2 you think the discussion you had with Mike Dowden or

        3 Mick Dowden about rescue was after you'd heard Jamal and

        4 Stern report to you that there was fire on the sixth

        5 floor?

        6 A. Not immediately afterwards.

        7 Q. How long afterwards, do you think?

        8 A. I can't exactly say, but not long. We started getting

        9 calls, people in the building, because the fire was

        10 spreading.

        11 Q. Okay. Can you tell us what you said to Mike Dowden

        12 about rescue?

        13 A. That we were receiving -- I said that we were receiving

        14 calls from people saying that their family members were

        15 trapped by smoke, or they were affected by smoke. And

        16 that would indicate to him that we would need to start

        17 putting in a rescue operation. That was the

        18 conversation.

        19 Q. So you said that him, that you were receiving calls?

        20 A. Yes.

        21 Q. What did he say to you?

        22 A. Well, they were also receiving calls outside.

        23 Q. Right. Just pausing there then. Where were you

        24 receiving calls from?

        25 A. On the radio. I believe Firefighter De St Aubin got
        44

        1 some information. I think some firefighters came down.

        2 I can't recall exactly, there was so much activity.

        3 Q. Right.

        4 A. And Crew Manager Stern and Firefighter Hippel reported

        5 to me that they had information that somebody was

        6 trapped on the 16th floor.

        7 Q. Okay. That's --

        8 A. Which I found very, very unusual.

        9 Q. Okay. That jumps ahead in time a little bit far.

        10 A. Okay.

        11 Q. We'll definitely come back to that because it's

        12 important.

        13 But just in terms of the discussion that you had

        14 with Mike Dowden, you were getting the information, you

        15 said, I think, through Alex De St Aubin. Do you know

        16 where he was getting that information from?

        17 A. I would say on his radio.

        18 Q. Do you remember him receiving it on his radio?

        19 A. No.

        20 Q. Do you remember any firefighters coming at that stage,

        21 so still early on, to the bridgehead with pieces of

        22 paper?

        23 A. No, not with pieces of paper. It didn't happen that

        24 quickly.

        25 Q. Do you know where Mike Dowden was getting his
        45

        1 information from about people?

        2 A. Main scheme radio and then from his driver, who was on

        3 the initial command pump.

        4 Q. Did you have a conversation with Mike Dowden about

        5 evacuation or --

        6 A. No.

        7 Q. Was there a discussion, for example, about evacuating

        8 everybody on the fifth floor or everybody on the sixth

        9 floor?

        10 A. No.

        11 Q. Can you help, why didn't you discuss that?

        12 A. I would say the circumstances were exceptional.

        13 Something was happening -- well, we'd never seen this

        14 before or experienced it at the rate it was happening.

        15 I think that was to the forefront, certainly to my

        16 thoughts, and I wasn't looking at the building from the

        17 outside, which I would imagine was quite dramatic, for

        18 want of a better word. It was quite severe, probably

        19 a better word.

        20 Q. Yes.

        21 Now, on page 8 of your statement, you say, after

        22 Jamal and Stern had reported to you what they found on

        23 the sixth floor, four lines down:

        24 I knew then that there was fire spread.

        25 A. Yes, I did.
        46

        1 Q. What did you think about how far further the fire might

        2 spread?

        3 A. As I said earlier on, I thought we could get it, because

        4 that's normally what happens. If the compartmentation

        5 in a building is correct and functioning as it should

        6 do, it should stop the spread of fire. Occasionally you

        7 will get adaptions to a building where services are

        8 installed or, for whatever reason, a fire door is

        9 damaged. That would undermine the integrity of the

        10 compartmentation.

        11 So if it did spread, those could be the reasons.

        12 I genuinely thought it was spreading on the inside, but

        13 Mike or Watch Manager Dowden said to me, "I can see it

        14 jumping on the outside", and then I had firefighters

        15 very quickly running in telling me what's actually

        16 happening on the outside.

        17 Q. What did you think at that moment about whether

        18 compartmentation was holding?

        19 A. I thought it had failed internally just between a couple

        20 of flats.

        21 Q. You thought it failed --

        22 A. Possibly going up, you know, the communal stairwell.

        23 Q. Right.

        24 A. Something unseen had broken out. That is normally what

        25 happens. You get hidden fire travel -- it's quite
        47

        1 common -- in voids and that had broken out and just

        2 (Clicks) went.

        3 Q. Okay, so your view, just to summarise it -- I hope

        4 I have this right -- is that you thought at that time

        5 that compartmentation had failed and it had failed

        6 internally?

        7 A. Locally, locally.

        8 Q. Internally?

        9 A. Inside. That was my understanding, yes.

        10 Q. Did that prompt any thoughts about whether there was

        11 then a risk of further failure of compartmentation

        12 internally higher up the building than the sixth floor?

        13 A. No.

        14 Q. Why is that?

        15 A. Not to the extent where it went that quickly. That's my

        16 honest answer, or my accurate answer.

        17 Q. At that stage -- you think you've got internal

        18 compartmentation failure in the building, fire on two

        19 floors above the fire floor --

        20 A. Yes.

        21 Q. -- what did you think was the correct procedure now to

        22 follow in order to deal with what you have in front of

        23 you?

        24 A. Bring in additional resources and extinguish the fire.

        25 Q. So firefighting?
        48

        1 A. Attack the fire.

        2 Q. Attack the fire.

        3 You then go on to say in the fifth line down from

        4 the top of page 8:

        5 "Some of the residents started self-evacuating."

        6 A. They did.

        7 Q. "They looked frightened and had black smoke marks on

        8 their faces."

        9 A. They did, that's correct.

        10 Q. "From that moment onwards, we just started carrying out

        11 rescues."

        12 Just in terms of residents, were they coming past

        13 you at the bridgehead?

        14 A. They were being escorted past me by firefighters.

        15 Q. Okay. All of them or were some of them self-evacuating?

        16 A. Some of them by themselves, some of them were being

        17 escorted by firefighters. They looked confused and

        18 frightened.

        19 Q. What did the black smoke marks tell you about how the

        20 fire was behaving?

        21 A. That the smoke was travelling. They'd gone through

        22 smoke. They'd been in smoke or walked through smoke to

        23 exit the building.

        24 Q. Did it look as if they were suffering seriously from

        25 smoke inhalation?
        49

        1 A. Not seriously, but significant -- it doesn't take much

        2 smoke to either -- well, to injure somebody.

        3 Q. Do you know which floors these residents had come down

        4 from?

        5 A. No.

        6 Q. Did you speak to any of them?

        7 A. I didn't speak to the residents; I was speaking to

        8 firefighters.

        9 Q. Right.

        10 As you've told us, some of them were

        11 self-evacuating; what did that tell you about whether

        12 the building's stay-put policy was still a safe policy

        13 to pursue?

        14 A. Can you repeat the question?

        15 Q. You could see some of these residents self-evacuating.

        16 A. Yes.

        17 Q. Did that tell you anything about whether the building --

        18 A. That they wanted to leave the building; there was smoke

        19 and they were frightened.

        20 Q. Yes, but did that tell you anything about whether the

        21 building's stay-put policy was still a safe policy to

        22 pursue?

        23 A. No, I wasn't thinking about that.

        24 Q. Right.

        25 Did that tell you anything about where the smoke was
        50

        1 to be found on the higher floors?

        2 A. What it told me is that there was smoke -- there was two

        3 floors involved and these people were possibly from

        4 those floors.

        5 Q. Right.

        6 How long roughly after Crew Manager Batterbee had

        7 left the bridgehead did you see -- sorry, let me ask the

        8 question in a different way.

        9 Did you see the residents coming down past you with

        10 smoke inhalation before or after Crew Manager Batterbee

        11 had left the bridgehead?

        12 A. Afterwards.

        13 Q. Next question: how long afterwards, do you think?

        14 A. Three or four minutes.

        15 Q. Right. Thank you.

        16 You then say in your statement:

        17 "From that moment onwards, we just started carrying

        18 out rescues."

        19 When you say "just" --

        20 A. Well, that's just the way I speak. That's what we were

        21 doing. We're firefighting and rescues.

        22 Q. I was going to ask you: you say firefighting and

        23 rescues.

        24 A. Yes.

        25 Q. So it wasn't only rescues; it was firefighting as well.
        51

        1 A. No, it was firefighting and rescues. I was still, as

        2 a bridgehead commander, pursuing the orthodox way of

        3 fighting a high-rise fire. All I was doing was

        4 increasing my resources or asking for additional

        5 resources. I was dealing with a problem, you know.

        6 It's a dynamic situation, a fire, and it can change and,

        7 you know, we try to adapt our procedures. But by and

        8 large we stick with the fundamentals of high-rise

        9 firefighting.

        10 Q. Did you prioritise firefighting over rescue or rescue

        11 over firefighting or both the same?

        12 A. It was simultaneous action. That's what it was. But

        13 our prime directive or purpose is saving lives, so that

        14 would come before anything else.

        15 Q. Absolutely.

        16 Did you give firefighters who were coming to the

        17 bridgehead and being committed under air instructions as

        18 to rescue?

        19 A. Yes.

        20 Q. What were those instructions?

        21 A. The floor number, flat number and number of persons and

        22 the conditions -- I mean smoke and fire conditions. So

        23 the information is quite succinct in that it will tell

        24 you which floor the flat is on and the flat number and

        25 the number of persons in the flat and, if available,
        52

        1 conditions.

        2 Q. Now, I'd like to try and be as precise as I can with you

        3 about the timing of when you started to receive that

        4 information.

        5 Roughly how long after you started carrying out

        6 rescues, that decision was made to carry out rescues,

        7 did you start getting information about flat and floor

        8 number?

        9 A. Pretty immediately, actually. From residents, people

        10 telling us -- physically telling us -- "So-and-so's in

        11 this flat or on this floor, can you go and get them?"

        12 And information on the radio. It was all happening at

        13 once very quickly, you know.

        14 Q. Okay. I'm sorry to --

        15 A. No, that's fine, I understand your questions.

        16 Q. -- pick this apart a bit.

        17 So were there residents coming down who were

        18 stopping at the bridgehead and saying to you, "So-and-so

        19 is on floor" --

        20 A. No, the firefighters were telling us. They were getting

        21 information from the residents as they were bringing

        22 them out and they were telling us.

        23 Q. Just in terms of that information, the BA wearers coming

        24 down with residents, communicating that to you, was that

        25 being recorded on the bridgehead anywhere in any way?
        53

        1 A. To my understanding it was on the forward information

        2 board, which is a piece of -- it's something we use,

        3 it's a template, and there's -- I think it's four

        4 separate parts. It's quite large -- about the size of

        5 this lectern, actually -- and there's information for

        6 plans, high-rise map and locations of individuals

        7 requiring rescue or locations within the building of

        8 fire.

        9 So what you do -- it's just like a copy book,

        10 laminated copy book.

        11 Q. Okay. So you're recording information onto that.

        12 Who was doing the recording, do you remember?

        13 A. At the very beginning?

        14 Q. Yes.

        15 A. Firefighter De St Aubin was recording it on the BA

        16 board, I would imagine, I would guess, because I can't

        17 remember if we had a FIB -- I know I asked for a FIB,

        18 a forward information board, but --

        19 Q. After that?

        20 A. After that was Firefighter O'Beirne.

        21 Q. That was on the board.

        22 Did there come a time when either Alex De St Aubin

        23 or Firefighter O'Beirne started recording information on

        24 the wall --

        25 A. Yes.
        54

        1 Q. -- with a chinagraph?

        2 A. The time came when Firefighter O'Beirne shouted to me,

        3 so he was over by the lift doors and I was committing

        4 people, giving them information, the firefighters, up

        5 the stairs, and he said, "Governor, look", he shouted to

        6 me and he said it's full, and it was actually full,

        7 which is highly unusual.

        8 Q. I was going to ask you: have you ever seen that before?

        9 A. Never.

        10 Q. Right. Okay, so let's just pause there with that --

        11 A. Okay.

        12 Q. -- and just go back to the other source of information

        13 you were getting about persons trapped in the building.

        14 You said it had come from residents, you've explained

        15 that, but it had also come from elsewhere. I think you

        16 said through the radio.

        17 A. Also at this time was -- well, a good officer turned up,

        18 Watson, Watch Manager Watson from Hammersmith.

        19 Q. Right.

        20 A. I know you haven't asked me too much about the radio

        21 traffic yet.

        22 Q. Not yet.

        23 A. I am sure you will. Watch Manager Watson is a very calm

        24 individual, very composed, good officer. He started

        25 giving me information. He became my go-to guy to pass
        55

        1 information to Watch Manager Dowden and to get

        2 information from the fire ground outside.

        3 Q. Okay.

        4 A. So what he was doing is running up and down the stairs,

        5 and then he started to bring pieces of paper with

        6 information on fire survival guidance calls.

        7 Q. Right. Now, we've gone quite far ahead.

        8 A. I understand that.

        9 Q. That's okay. It's good, we can capture it.

        10 Roughly what time did Watch Manager Watson appear on

        11 the bridgehead?

        12 A. I can't give you a time, I --

        13 Q. Was it a long time after you'd started collecting the

        14 fire survival guidance calls?

        15 A. Not a long time, but too long for me. I was alone.

        16 Q. Okay.

        17 A. As an officer, I was quite over -- I was overtasked

        18 is --

        19 Q. When he did arrive -- we can get the times perhaps

        20 another way --

        21 A. Yes.

        22 Q. -- where was he standing?

        23 A. On the balcony.

        24 Q. Okay. And he was giving his information that he was

        25 getting to you, was it?
        56

        1 A. To us.

        2 Q. To you --

        3 A. Us collectively. He would be handing that information

        4 to Justin O'Beirne, or Firefighter O'Beirne, I would

        5 imagine.

        6 Q. So the communication was Watson-O'Beirne, was it?

        7 A. Pardon?

        8 Q. The communication was between Mr Watson and Firefighter

        9 O'Beirne?

        10 A. And me.

        11 Q. And you?

        12 A. And everybody else who was on the bridgehead at that

        13 time.

        14 Q. Okay. Was that by radio or ...?

        15 A. No, verbally. Face-to-face.

        16 Q. Was he shouting?

        17 A. No, speaking. He doesn't shout.

        18 Q. Right. Where was he getting that information from?

        19 A. From the fire ground.

        20 Q. By what method of communication?

        21 A. I'd say face-to-face, knowing him.

        22 Q. Right. We'll have to explore that a little bit later.

        23 But just coming back, then, to page 8 and quite

        24 early on, I think, in the incident, you then go on to

        25 say:
        57

        1 "It became very clear that there was significant

        2 smoke in the main stairwell."

        3 A. Yes, it did.

        4 Q. How did you discover that?

        5 A. Crew Manager Stern and Firefighter Hippel, when they

        6 reported to me that they received a fire survival

        7 guidance call to the 16th floor -- I think it was the

        8 16th floor, I think it's on my statement -- when they

        9 went there, they reported to me -- and I don't think it

        10 was by radio, I think it's when they came back because

        11 the comms weren't really working when the firefighters

        12 went up higher -- that it was on fire.

        13 Q. So that information came down to you by radio from

        14 Hippel and Stern?

        15 A. And I think I radioed that -- I know I got that

        16 information to -- actually, I did radio to Watch Manager

        17 Dowden and that's when I said to him make it 10, make

        18 pumps 10, and he said, "I'm doing it, I'm doing it".

        19 Q. You're about 5 minutes ahead of me, which --

        20 A. I'll slow down.

        21 SIR MARTIN MOORE-BICK: That's all right.

        22 MR MILLETT: No, that's fine.

        23 So you radio down to Mike Dowden, you say.

        24 A. Yes.

        25 Q. "... as I realised very quickly that we required much
        58

        1 more BA to respond to what was happening and conduct

        2 rescues."

        3 Then you say:

        4 "I told him 'Pumps 8' on the radio, to increase

        5 attendance and he said, 'I'm doing it. I'm doing it. I

        6 made Pumps 8'."

        7 Now, we have a time for pumps eight, but I just want

        8 to be clear about the smoke in the stairwell.

        9 Do you think that you got the information from

        10 Hippel and Stern about smoke in the stairwell before the

        11 discussion about pumps eight or after?

        12 A. No, it was afterwards.

        13 Q. I see, okay.

        14 Right.

        15 Now, on pumps eight, doing your best to remember,

        16 when you spoke to him, had he already made pumps eight

        17 or was he telling you --

        18 A. I think, you know, great minds think alike, and he's

        19 an operational watch manager like myself. I can recall

        20 walking backwards while I was speaking to him onto the

        21 balcony to look to try and see what was going on

        22 outside. I saw a big sheet of flame falling down

        23 outside the building, and I saw him running on the

        24 radio.

        25 So two things unusual: a big sheet of flame falling
        59

        1 down and a watch manager actually running, which we

        2 don't see, which you shouldn't do. I don't mean that

        3 because we're lazy; you have to be calm, remain calm and

        4 composed and take in information. It's command and

        5 control. If a watch manager is running, there's

        6 something seriously wrong.

        7 Q. Really?

        8 A. Yeah.

        9 Q. Okay.

        10 Now, in terms of timing, the short incident log has

        11 the make pumps eight message timed at 01.19.08.

        12 A. Okay.

        13 Q. We've looked earlier on at the message coming down to

        14 the BA entry control about the fire in flat 16 put out

        15 at 1.21. So it looks --

        16 A. So that tallies in with the next bit of information from

        17 that crew on 16.

        18 Q. Right. Just in terms of the order of things, though, it

        19 looks as if the message to make pumps eight, or the

        20 decision to make pumps eight that you discussed with

        21 Mike Dowden, actually happened before you were told that

        22 the fire in flat 16 was out?

        23 A. Okay, that's a time issue. You know, for me, it's quite

        24 compressed, that moment, and throughout the night

        25 I don't know any -- I didn't -- I didn't look at my
        60

        1 watch once, actually. I didn't have time to.

        2 Q. No, I understand.

        3 Now, just in terms of that, though, I think you're

        4 saying -- correct me if I'm wrong -- you wouldn't

        5 disagree with that, if I was to put those times to you

        6 and say --

        7 A. It seems like it's out of sequence but, you know, that's

        8 how I remember it: the make pumps eight went when

        9 I found out the fire had jumped to the fifth and sixth.

        10 The make pumps 10 would have been when we started

        11 getting FSGs or fire survival guidance calls elsewhere

        12 in the building.

        13 Q. Yes.

        14 Now, in your statement on page 8 you say in the

        15 middle of the page:

        16 "As I was speaking to WM DOWDEN, I walked out onto

        17 the glass balcony. I could see flames falling down

        18 outside the building and I thought 'that's odd'."

        19 Just pausing there, was that the first time that

        20 you'd seen flaming material coming off it?

        21 A. Yes.

        22 Q. What were your thoughts about that?

        23 A. That we had a problem, a big problem.

        24 Q. Was it something you'd ever seen before?

        25 A. Because it wasn't just a particle, it was like -- so the
        61

        1 front of the desk here? It was that size and it was on

        2 fire and it was falling (Indicates). And it was

        3 diagonal. I can remember it now, so -- yes.

        4 Q. Right. I am trying to get an idea of the size of the

        5 front of the desk.

        6 A. That's quite significant --

        7 Q. 5 by 3.

        8 A. -- on fire, falling from a building. Whereas when

        9 I walked into the building, it was a flat fire.

        10 Q. Had you ever seen anything like that before?

        11 A. Yes. On a building that's been fully involved, they

        12 fall apart.

        13 Q. Right.

        14 A. So, not -- I mean, I've seen that -- just to be specific

        15 here -- have I ever seen anything like that at the

        16 beginning of an incident or where I didn't know that the

        17 building was on fire outside? No.

        18 Q. Had you ever seen flaming bits falling off a building so

        19 early on in an incident?

        20 A. No.

        21 Q. What did that tell you about how the fire was

        22 developing?

        23 A. That it was developing rapidly.

        24 Q. Did it tell you anything about what it was that was

        25 burning?
        62

        1 A. No, no. Before this event, I had -- I mean, everyone

        2 knows about cladding. No, we didn't have that

        3 awareness; it wasn't our reality. I know new building

        4 materials are being developed constantly, but the

        5 majority of the fires the London Fire Brigade attends

        6 are in traditional structures, or have been previously,

        7 but I think that's changing.

        8 Q. While we're on that subject, can I just ask a question.

        9 A. Yes.

        10 Q. At any time in late 2016/early 2017, really in the

        11 months leading up to Grenfell Tower, do you remember

        12 ever seeing or hearing about a letter that the London

        13 Fire Brigade had written to London local authorities

        14 about tall buildings and the risk of fire spread on the

        15 exterior?

        16 A. No.

        17 Q. Okay.

        18 Now, you then go on in the next paragraph to say, on

        19 page 8:

        20 "Seconds later, when I realised that we were losing

        21 the fire or that the fire was getting away from us,

        22 I transmitted, 'Make Pumps 10, Mick. Make Pumps 10.'

        23 He said, 'I'm making Pumps 10' and sounded very

        24 excitable."

        25 Now, the short incident log has us with that
        63

        1 message, make pumps 10, at 01.24.29.

        2 A. Yes.

        3 Q. You say:

        4 "... I realised that we were losing the fire ..."

        5 Did you discuss that thought with Mike Dowden?

        6 A. Yes.

        7 Q. What did --

        8 A. He was frantic.

        9 Q. What did you say to him?

        10 A. I can't remember the exact words. It was frantic

        11 traffic between him and I. I was -- I suppose it was

        12 a priority message I sent from the bridgehead for

        13 everybody in BA now, is actually what I said. I said,

        14 "Everyone you've got spare, I want them now". I wanted

        15 them, you know -- we were out-gunned completely. It

        16 just happened so quickly.

        17 Q. Sure. And that message went to Mike Dowden, did it?

        18 A. Yes.

        19 Q. Did you think that pumps 10 would give you enough

        20 resources to cater for what you were seeing in front of

        21 you?

        22 A. I suppose in the 60 seconds afterwards, no.

        23 Q. Right. Did you think about going straight to 25?

        24 A. I wasn't outside. I couldn't see what he was seeing.

        25 He did though; he made it up really quickly. From that
        64

        1 moment onwards, from make pumps 10, that actually would

        2 be a good idea of when Paul Watson, the watch manager,

        3 turned up.

        4 Q. Yes.

        5 A. Because I couldn't get in contact with Watch Manager

        6 Dowden after that. It was great difficulty.

        7 Q. After what?

        8 A. After the pumps 10. Immediately afterwards, there

        9 was -- the radios just went full of traffic and I just

        10 couldn't transmit any more information.

        11 Q. Right. So after pumps 10, that's 1.24.29, you say

        12 that's when you lost contact with Mike Dowden?

        13 A. That's when we had difficulty. That's when it began.

        14 Q. Okay.

        15 After that -- 1.24.29 -- how soon after that did

        16 Watch Manager Watson appear on the scene at the

        17 bridgehead?

        18 A. Pretty soon afterwards.

        19 Q. Okay.

        20 A. You can find out, if I can offer just one bit of

        21 information, by looking at Golf 361 booking stage 3 at

        22 the incident. He was the officer in charge of that

        23 appliance, and I would imagine he had a good look around

        24 for himself to see what was going on and then spoke to

        25 the incident commander, Watch Manager Dowden, and then
        65

        1 being tasked to come and see me.

        2 Q. Yes. Thank you.

        3 We have G361 status 3 at 01.25.06, just to give you

        4 a time fix on that, so only about a minute later.

        5 Is that consistent with your recollection?

        6 A. Probably consistent, yes.

        7 Q. You say also you called for additional BA and additional

        8 BA control boards. Did those arrive?

        9 A. They did. I asked for additional BA boards, additional

        10 IEC packs, additional hose, breaking-in kit --

        11 everything we needed to try and stop the fire.

        12 Q. You then go on to say at the middle of the last

        13 paragraph on page 8:

        14 "At this point, conditions in the building were

        15 deteriorating very rapidly."

        16 A. They were, yes.

        17 Q. Are you talking about smoke spread or --

        18 A. Yeah.

        19 Q. Yes.

        20 A. Fire spread, actually.

        21 Q. And fire spread as well?

        22 A. Well, the FSG calls were saying there was fire on

        23 multiple floors.

        24 Q. Yes, we see that at the top of page 9, and we'll come to

        25 that in a moment.
        66

        1 You then go on to say:

        2 "There was some light smoke on the second floor but

        3 it was acrid which stung my eyes and throat. I have

        4 never encountered it in my life."

        5 Now, just pause there.

        6 This is light smoke at the bridgehead, is it?

        7 A. When the doors were opening, it wafted in. There wasn't

        8 a lot of it, but it was acrid. And the "I have never

        9 encountered it in my life" is the police interviewer

        10 filtering what I'm saying. I didn't really say that,

        11 that I've never encountered -- because I've encountered

        12 most types of smoke in my 25 years in the Fire Brigade.

        13 I think that is a bit dramatic from the police officer.

        14 She was a very good interviewer, I hasten to add,

        15 but police officers sometimes filter what you say, and

        16 I know I had an opportunity to review that document, but

        17 I didn't pay any great attention to these -- there are

        18 inaccuracies throughout the document, but they're not

        19 significant.

        20 Q. Just to get your recollection as you stand here.

        21 A. Yes.

        22 Q. Was there anything about the smoke that stands out in

        23 your memory?

        24 A. It was acrid, but smoke is often acrid.

        25 Q. What did that tell you, if anything, about what was
        67

        1 burning?

        2 A. Well, normally with acrid smoke it's plastic or

        3 rubber-based, which I know we'll get to, but that's what

        4 you get from plastics -- you know, as you know, there

        5 are many types, and rubber. They're oil-based but there

        6 are also chemicals in them, toxic chemicals, and

        7 byproducts, like hydrogen cyanides. So as soon as that

        8 gets in your throat or eyes, it will sting you because

        9 it's poison.

        10 Q. Is that what you were experiencing?

        11 A. Briefly, yes, but I'm used to that sort of thing. The

        12 "I have never experienced this in my life" is a slight

        13 exaggeration, that one.

        14 Q. We can take that as we find it, then.

        15 Did you communicate to anybody that you could now

        16 smell even a small amount --

        17 A. No.

        18 Q. -- of acrid smoke?

        19 A. No, it's normal in a structural fire.

        20 Q. Right.

        21 You say at the bottom of page 8, three lines up from

        22 the bottom:

        23 "Of course, what I couldn't see was that outside the

        24 flames had gone up outside the building."

        25 At that stage, when you were make pumps 10, is that
        68

        1 right, that you couldn't see?

        2 A. That's correct.

        3 Q. But --

        4 A. I couldn't see, no.

        5 Q. Okay. Did you have any clue at that stage that the

        6 exterior of the building was on fire?

        7 A. Yes. The firefighters told me.

        8 Q. So you knew it but you couldn't see it?

        9 A. Yes. We look out for each other, so we pass

        10 information, there's a constant stream of information.

        11 It's very important, so if something changes on the fire

        12 ground, it is communicated.

        13 The textbook will say the incident commander must

        14 communicate any changes -- the incident commander is

        15 busy doing other -- command and control. The

        16 firefighters communicate with each other really well, so

        17 if they know there's a hazard within, you know, any

        18 incident, they'll tell each other so you don't get

        19 caught out by it and injured.

        20 So the firefighters coming up to me are telling me

        21 that it had jumped up outside the building and it was

        22 going up towards the roof.

        23 Q. And was going up towards the roof, right.

        24 At the top of page 9 you say:

        25 "At the Bridgehead we then began to receive multiple
        69

        1 requests of rescue from residents and at the same time,

        2 I began to receive Fire Survival Guidance (FSG) calls."

        3 Just to be clear on timing again, if I can, was that

        4 before or after the make-up to 10 pumps?

        5 A. Before.

        6 Q. Before. Long before?

        7 A. I would say not very long before, but long before, yes.

        8 That's why I -- I mean, making pumps 10 at a high-rise

        9 fire wouldn't be that unusual if the fire is spreading,

        10 but --

        11 Q. Yes.

        12 A. Yes, it was before

        13 Q. You use the expression "fire survival guidance calls".

        14 You go on to say:

        15 "An FSG call is where a member of the public, who

        16 has a fire in their building, calls Fire Brigade

        17 Control."

        18 And you go on to explain the advice that is given.

        19 These fire survival guidance calls you were getting,

        20 is that what we discussed before, the information that

        21 you were getting either from the BA wearers coming down

        22 with residents or through the communication --

        23 A. Correct, and people coming back into the building, or

        24 trying to get back into the building.

        25 Q. From the fire ground, and people coming back into the
        70

        1 building?

        2 A. Trying to, trying to access the building.

        3 Q. So when you say you were getting calls, that's not from

        4 control, that's information from --

        5 A. Not directly from control, no. The system we use, sir,

        6 is the incident command pump will receive fire survival

        7 guidance from our control and transmit that to the

        8 incident commander or someone helping the incident

        9 commander, and that's transmitted to the fire sector.

        10 Q. Yes. You explain, in fact, exactly that just halfway

        11 down the first paragraph on page 9. You say:

        12 "The information is then transmitted to either the

        13 Brigade appliance in attendance or a Command Unit,

        14 stating the location, flat number, floor, number of

        15 persons involved and their location within the

        16 building."

        17 That's how it gets to the command unit, and the

        18 command unit is either the incident command pump -- is

        19 this right? -- or a full-blown CU?

        20 A. A full-blown CU. It's the initial command pump. So as

        21 soon as control hears that we're making -- first of all,

        22 if control have multiple calls, you get a command unit

        23 anyway. They're on a PDA of I think make pumps four,

        24 and lots of triggers, you know. Persons involved, you

        25 will always get a command unit. So the command unit
        71

        1 would've been there pretty quickly, I think.

        2 Q. Right. You say a command unit is on a PDA for four

        3 pumps --

        4 A. No, there are triggers.

        5 Q. Right.

        6 A. It depends on the level of command required and

        7 communication systems required, so that's what they are.

        8 It's a mobile command centre.

        9 Q. Yes. So are you saying -- so I can place this in

        10 policy -- when multiple calls are received, a command

        11 unit is ordered up automatically?

        12 A. Yes.

        13 Q. Right. For those who are interested, that is in

        14 mobilisation policy 412.

        15 A. There is a mobilisation policy. I wouldn't know what

        16 the number is off hand, but I've read it.

        17 Q. It's paragraph 2.14, for those who are interested in it.

        18 But that is what you know, is it?

        19 A. Yes. So you have the initial command pump which is the

        20 go-to focal point for the incident, which is the -- so

        21 you have, for example, Golf 271, Golf 272. One of those

        22 appliances will be pumping and the other appliance will

        23 be used as a command unit, staffed by a command support

        24 officer, which could be a firefighter, and that's where

        25 people book in when they come with the roll call board
        72

        1 and that's where all the radio traffic comes through.

        2 So it's a temporary -- well, mostly a temporary command

        3 post.

        4 Q. We're going to have a break in just a few minutes,

        5 Mr O'Keeffe, but before we do, can I ask you: how, when

        6 you have multiple calls, does the FSG information

        7 normally go from the command unit to the bridgehead?

        8 What's the normal route of communication?

        9 A. The normal route of communication would be by radio.

        10 Q. Direct?

        11 A. If it's possible.

        12 Q. So CU, radio channel --

        13 A. They get the information from -- they have a dedicated

        14 emergency line which we use for FSG calls, and then you

        15 have -- it's staffed by officers, additional officers,

        16 and that information is recorded. But it can be brought

        17 to the bridgehead physically, which is probably better,

        18 and it's recorded on the forward information board, and

        19 it's used to -- so you'd have the information logged on

        20 what -- it's an FSG poster, which is a large format.

        21 That can be brought to the bridgehead. But it's

        22 recorded in quadruple -- I think quadruple forms.

        23 Q. Yes.

        24 A. So the forms can be handed out to various people, but it

        25 would be transmitted as well.
        73

        1 Q. Transmitted as well. So --

        2 A. That was happening at the very beginning of the fire at

        3 Grenfell Tower.

        4 Q. So at the very beginning it was coming by radio, was it?

        5 A. Radio and verbally.

        6 Q. And verbally?

        7 A. And pieces of paper.

        8 MR MILLETT: Right. We'll pursue that a little bit more

        9 later on.

        10 I wonder whether now may be convenient for a break.

        11 SIR MARTIN MOORE-BICK: Yes. We'll have another break now,

        12 Mr O'Keeffe.

        13 THE WITNESS: Okay, thank you, sir.

        14 SIR MARTIN MOORE-BICK: We'll all have a bit longer. We'll

        15 have quarter of an hour, back at 11.25, and please don't

        16 talk to anyone about your evidence.

        17 Thank you very much.

        18 THE WITNESS: Thank you.

        19 SIR MARTIN MOORE-BICK: Right 3.25, please.

        20 (11.10 am)

        21 (A short break)

        22 (11.25 am)

        23 SIR MARTIN MOORE-BICK: All right, Mr O'Keeffe?

        24 THE WITNESS: Yes, sir.

        25 SIR MARTIN MOORE-BICK: Thank you very much.
        74

        1 Yes, Mr Millett.

        2 MR MILLETT: So we were discussing before the break,

        3 Mr O'Keeffe, the normal system of communication, and

        4 I just want to get from you the system of communication

        5 of fire survival guidance information from the CU, the

        6 command unit, to the bridgehead during the various

        7 different stages of the incident while you were at the

        8 bridgehead.

        9 A. Okay.

        10 Q. Just first of all, at the very start, what was the

        11 method of communication of fire survival guidance

        12 information from the CU?

        13 A. At the very start, verbally and on the radio.

        14 Q. Right.

        15 A. Thereafter it was pieces of paper.

        16 Q. Right.

        17 A. As I recall.

        18 Q. Okay.

        19 A. And --

        20 Q. Who would bring the pieces of paper to the bridgehead,

        21 do you remember?

        22 A. Various people as the incident progressed, but Watch

        23 Manager Watson was the guy that was facilitating

        24 supporting us in the bridgehead.

        25 Q. What would you do with the information on the pieces of
        75

        1 paper?

        2 A. Transcribe it onto the forward information board, and

        3 when that became too full, I instructed Firefighter

        4 O'Beirne -- the word I used was "sling it", put that

        5 information up on the wall.

        6 Q. In general terms, when you had information from inside

        7 the building from firefighters either coming back down

        8 to the bridgehead or by radio, was there a way of

        9 recording that?

        10 A. With the information they would bring to me, if they

        11 gave me a flat number, that would go on to the --

        12 I would send them to the BA guys to give that

        13 information. They'd have to give that information

        14 anyway when they were closing down their sets. So they

        15 would give that information to the, I suppose, FSG

        16 recorder and the entry control officer.

        17 Q. What would happen to that information after that point?

        18 A. It would be recorded and the next crew to come would be

        19 given that information and assigned that -- if there was

        20 a known area where somebody needed rescuing, you would

        21 immediately assign a crew to it. Or that's what I was

        22 doing.

        23 Q. Supposing firefighters came down -- just in general

        24 terms at the moment -- and said to you, "Well, we've

        25 gone up to flat X and can't find anybody in there" or
        76

        1 "Gone up to flat X and can't get in or can't get onto

        2 that floor" and have come down, so that it was

        3 an unsuccessful deployment --

        4 A. Yes, which happened throughout the night.

        5 Q. Yes -- would that information be recorded, first of all?

        6 A. It would be recorded, yes.

        7 Q. Where would that be recorded?

        8 A. It was recorded on the wall, as far as I'm aware.

        9 Q. Would that information then be fed back to ultimately

        10 Brigade control?

        11 A. Well, I was feeding the information to Watch Manager

        12 Watson, because I wasn't able to use the radio any

        13 longer, wasn't able to transmit it, and my understanding

        14 was he would bring any important information back to the

        15 fire ground outside.

        16 Q. So to your recollection, information about successful or

        17 failed deployments would be fed back through the method

        18 of communication?

        19 A. Various methods of communication.

        20 Q. Can you just describe those for us?

        21 A. Verbally, face-to-face, "Can you pass this information

        22 on", or written down. I didn't write anything down

        23 myself because I was too busy, I didn't have time to

        24 write, but I did speak to Watch Manager Watson quite

        25 a lot during the incident.
        77

        1 Q. Right, and he would go where with that information?

        2 A. Downstairs. He kept going back up and down. He did

        3 a lot of walking, running.

        4 Q. To whom would he communicate the information?

        5 A. Watch Manager Watson.

        6 Q. All right.

        7 Did you have any discussions with Mike Dowden or any

        8 later incident commanders about particular failed

        9 deployments that you were learning about?

        10 A. Yes.

        11 Q. Who?

        12 A. Group Manager Welch.

        13 Q. We'll come to him.

        14 Now, do you remember Watch Manager Watson setting up

        15 a BA staging area on the mezzanine?

        16 A. Mm, I do.

        17 Q. What sort of point in the night was that? How long

        18 after he arrived, perhaps, was that?

        19 A. Pretty immediately after he arrived because I told him

        20 we had nothing left, and I was on the radio asking for

        21 resources, I wasn't getting any response. I was getting

        22 frustrated because I had multiple, multiple calls for

        23 rescue and I couldn't commit anybody else. I had nobody

        24 else left. And that was -- if I could just explain why.

        25 Q. Yes.
        78

        1 A. That was just after Watch Manager Dowden was making up

        2 the incident as quickly as he could, but the resources

        3 hadn't arrived yet, and we had committed pretty much all

        4 of our equipment and people. Not everybody, of course,

        5 as we had to have support on the fire ground and

        6 elsewhere, but as many as we could possibly commit, we

        7 did.

        8 Q. What was he recording at this forward post, this staging

        9 area?

        10 A. What was he what?

        11 Q. What was he recording? Was he recording information?

        12 A. Quite possibly, I don't know. He was listening to me

        13 quite a lot. He is a really good guy. If you ask him

        14 for something, he understands it readily and was trying

        15 to get me what I -- or get us what we needed on the

        16 bridgehead.

        17 Q. Right.

        18 Was he communicating with anybody in the lobby of

        19 the building on the ground floor?

        20 A. Yes.

        21 Q. Who was that, do you know?

        22 A. I don't know. There was a lot of activity in the lobby.

        23 A lot of times I looked down the stairs or into the

        24 lobby, there was quite a bit of activity, firefighters

        25 and so on.
        79

        1 Q. Do you know where Watson was getting the information

        2 that he was passing to you?

        3 A. From the fire ground.

        4 Q. From the fire ground?

        5 A. He would've been getting that from -- we would assign as

        6 many as we can spare to manage the information coming

        7 in.

        8 Q. He was bringing slips of paper in to you?

        9 A. Yes, just information, slips of paper.

        10 Q. Do you know where he was getting the information that he

        11 was recording on these slips of paper?

        12 A. From the -- the exact location I don't know because

        13 I was inside, but he would be getting it from people who

        14 were getting the information from Brigade control, who

        15 were manning the phones, and they were given this

        16 precise information to officers on the fire ground. He

        17 was then getting the information and either bringing it

        18 himself or sending people with the information to us.

        19 Q. Right.

        20 Did you know whether that information had been

        21 prioritised so that what you were getting was --

        22 A. Of course.

        23 Q. -- in a priority --

        24 A. That is the priority.

        25 Q. Okay.
        80

        1 A. FSG -- when you have an FSG incident, it becomes the

        2 priority.

        3 Q. Right.

        4 But I think you are saying you don't know exactly

        5 where Watson was getting the information?

        6 A. No, you'd have to ask him that himself, sir.

        7 Q. Do you know whether Watson was receiving pieces of paper

        8 from somebody else or creating the pieces of paper?

        9 A. Receiving. I do know that; he was receiving.

        10 Q. He was essentially a back and forth messenger --

        11 a runner?

        12 A. He wasn't -- well, that would be disingenuous, to say he

        13 was a runner, because --

        14 Q. It's a rude word, I suppose, but --

        15 A. No, no, it's okay, he was a runner, and later on in the

        16 incident, even though he was a watch manager, he was

        17 a runner, yes.

        18 Q. Right.

        19 Now, page 9, you describe, five lines down, stay-put

        20 advice. You say:

        21 "In this case, the advice would have been to stay

        22 put. This is because high-rise buildings are generally

        23 meant to be constructed so that fires will be contained

        24 to the fire floor ..."

        25 A. That's correct.
        81

        1 Q. "... and so it's far safer for residents of high-rise

        2 blocks to stay in their, supposedly, protected

        3 apartments until Firefighters can come and rescue them."

        4 When you first started getting fire survival

        5 guidance calls, did you know what advice was being given

        6 by the control room operators to individual residents

        7 who were calling?

        8 A. No, I didn't, and on that point, I asked at one point,

        9 when Group Manager Welch had arrived, and one of my many

        10 discussions with him that night was, "Governor, have

        11 they lifted the policy yet? The stay-put advice." And

        12 he said, "I don't know."

        13 Q. Yes. You cover that in your statement.

        14 When he arrived, looking ahead, did he agree with

        15 you that the stay-put policy should be changed?

        16 A. We didn't have that type of discussion. We had

        17 a different discussion when he arrived. Do you want to

        18 know when I first saw him?

        19 Q. Yes.

        20 A. He ran up the stairs -- again, to see a group manager

        21 running is unusual -- and he said -- I can't remember

        22 the exact words, he said, "B" -- using the initial for

        23 my name, he's obviously found out who I am -- "What are

        24 you doing?" -- which is normal, you know, what

        25 tactics -- and the gist was "Is it working?" And
        82

        1 I said, "No".

        2 Q. Right.

        3 A. And he said, "Why not?" And I said the standard

        4 duration guys were either in danger of getting killed

        5 themselves or couldn't reach the upper floors. They

        6 were running out of air really quickly.

        7 Q. That was the problem you communicated to him?

        8 A. That was my big problem and he said okay, and he said

        9 "What do you need? What do we need?" I said EDBA,

        10 extended duration breathing apparatus. And he said,

        11 "How much?" And I said, "All of it." And he said, "We

        12 can't do that." I said, "Governor, we need all of it,

        13 we need it now, everything." And I elaborated like

        14 I was trying to sell the idea to him. I said, "Get all

        15 the FRUs here, get the CBRN", I said there's loads of

        16 guys with an EDBA ticket, as I have, which is

        17 a qualification in London. I said, "We need them here

        18 now, otherwise we're not going to reach these people."

        19 That's why -- that was the -- and he thought -- I could

        20 see him thinking, he was listening, and he said, "Okay,

        21 we'll do that", and he ran back downstairs.

        22 Q. Okay.

        23 A. He also said, "I'm taking over as fire sector

        24 commander." That was the first thing he said.

        25 Q. In fact, we have the first deployment of EDBA wearers --
        83

        1 there's no need to look at the telemetry data -- at

        2 around 1.56?

        3 A. Paddington?

        4 Q. Yes. Paddington, a five-firefighter crew from

        5 Paddington.

        6 A. A line rescue crew. A line ops crew. I remember.

        7 Q. Crew Manager Wigley.

        8 A. Crew Manager Wigley, yes.

        9 Q. Was that before or after Group Manager Welch arrived at

        10 the bridgehead?

        11 A. Before.

        12 Q. So you did have some EDBA available, did you?

        13 A. Earlier on I said to Watch Manager Dowden, "Get some

        14 EDBA here" and he said, "I'm doing it anyway." He was

        15 already thinking like I was. I think he ordered a

        16 couple of FRUs for line ops, as far as I understand, and

        17 he had a plan to use them for something.

        18 Q. Now, just going back to the question -- we'll come back

        19 to Group Manager Welch later on -- about advice being

        20 given to the control room, you say you didn't know what

        21 it was.

        22 A. No.

        23 Q. What assumption did you make, or did you make

        24 an assumption, about what the advice was being given --

        25 A. I would say the assumption -- it is just
        84

        1 an assumption -- was that the advice was to stay put.

        2 Q. Did you have any thoughts about whether that continued

        3 to be --

        4 A. I did have thoughts. I thought nobody would make it

        5 down the stairs, so that was the only advice -- the

        6 stairs were smoke-logged completely, and my BA crews

        7 were suffering and they were in BA, and I knew that it

        8 would be dangerous for anyone not in breathing apparatus

        9 to be in that stairwell, and it was the only means of

        10 going up or coming down, escaping from the building.

        11 And it was an assumption, and that's why I asked

        12 Group Manager Welch. It was an assumption that people

        13 were being told to stay put.

        14 Q. Okay.

        15 Was there a way in which you could communicate with

        16 the control room about what you or your BA wearers were

        17 seeing and experiencing in the stairs?

        18 A. All that information was fed down to the incident

        19 commander through Watch Manager Watson and other

        20 officers.

        21 Q. That's the link you had with the control room?

        22 A. Not just him, but other officers, and the firefighters

        23 who were coming -- who had been committed, and they were

        24 being battered, so ...

        25 Q. Now, just to come back to Richard Welch, halfway down
        85

        1 page 9, you say:

        2 "I think it was about 0200 - 0230 hours that I had a

        3 conversation with Richard WELCH as regards the change in

        4 advice for the Stay Put Policy. I can't recall the

        5 exact details of this conversation ..."

        6 A. It was a question.

        7 Q. Okay. Can I just show you your evidence up there, you

        8 say:

        9 "... I can't recall the exact details of this

        10 conversation but it wouldn't have changed our Search and

        11 Rescue tactics but would have added an element of

        12 potential unpredictability to our operations. We

        13 wouldn't have known where people were."

        14 Just taking this in stages.

        15 Richard Welch, when he arrives, what status did he

        16 have? Was he incident commander or what?

        17 A. I was a bit confused about that because he told me he

        18 was fire sector commander, which was my job at the time.

        19 As bridgehead commander, you're fire sector commander.

        20 But he's quite a senior officer to me, so I was under

        21 the impression that he had taken over the entire

        22 incident.

        23 Q. Now, to put it in timing terms, we have him status 3 at

        24 01.57.21. We also have your deployment of this

        25 five-person or five-firefighter Paddington EDBA crew at
        86

        1 about the same time.

        2 A. Yes.

        3 Q. That might help you remember. How soon after that, that

        4 deployment, do you remember Richard Welch coming to the

        5 bridgehead and you --

        6 A. Pretty soon afterwards. Not immediately, but I mean

        7 he -- when he would've turned up, he would've had to

        8 make his assessment of what was going on. And there was

        9 a lot going on. So he would've gone to the command unit

        10 to book in. He would've spoken to officers, you know,

        11 collecting information, trying to formulate a plan. You

        12 know, he's a senior officer and that's what he would do.

        13 Q. And you say:

        14 "... I had a conversation with Richard WELCH as

        15 regards the change in advice for the Stay Put

        16 Policy ..."

        17 A. Yes, I can't remember the exact time that was.

        18 Q. So he comes to the bridgehead, and is this conversation

        19 about stay put at that stage when he first comes to the

        20 bridgehead to talk to you?

        21 A. As I said -- no, no, no, it wasn't. When he came first

        22 it was, "What are you doing? Is it working?" "No."

        23 "What do we need? Okay, I'll do that."

        24 Q. That was the EDBA discussion?

        25 A. Yes.
        87

        1 Q. Did he then go away and come back?

        2 A. Yes. Throughout the night he'd run downstairs, come

        3 back, yes.

        4 Q. Then you have this conversation as regards "the change".

        5 How did that conversation go? How did the subject of

        6 changing the stay-put policy come up?

        7 A. I brought it up.

        8 Q. What did you say?

        9 A. I asked him a question.

        10 Q. What was the question?

        11 A. Is the stay put -- I can't remember the exact question,

        12 but has the stay-put policy been lifted or is it going

        13 to be lifted? Something like that.

        14 Q. Why did you ask that question?

        15 A. Because the fire was out of control.

        16 Q. Just trying to get your thought processes, the fire

        17 being out of control, why did you think that it might be

        18 necessary to change the stay-put policy?

        19 A. It's a good question. Because the fire had

        20 outstripped -- the event had outstripped our ability to

        21 rescue everybody, on the information I had at the time.

        22 Q. So changing from stay put, what did you think at the

        23 time the advice should be changed to?

        24 A. I didn't have an opinion, other than if people started

        25 to evacuate, there would become multiple casualties in
        88

        1 the stairs and we would have great difficulty in finding

        2 out where people were, because when you have an FSG, you

        3 know where someone is, and if they are protected, you

        4 know you have a destination, X or Y flat, number of

        5 people. But if people start evacuating when the entire

        6 building's on fire, or most of it's on fire and the only

        7 way down is impossible, that would have been -- well,

        8 a huge catastrophe for -- well, it would've really

        9 impeded our rescue operations.

        10 Q. And that's the sense you get from what you say --

        11 A. If my guys didn't know where people were, I couldn't

        12 say, "Well, go to this floor". You just have, as we did

        13 afterwards, people deceased in the stairwell and various

        14 parts of the building.

        15 Q. At the stage you're having your conversation with

        16 Group Manager Welch, were you in favour of changing the

        17 stay-put policy or against it?

        18 A. No, I didn't -- I wasn't in favour. I was wondering, it

        19 was a question. I needed to know what was going on.

        20 Q. I see.

        21 A. It is very important for me to know what kind of

        22 movement is happening in the building, what advice is

        23 being given.

        24 Q. So do I understand your evidence to be that your

        25 conversation with him was exploratory; you just
        89

        1 wanted --

        2 A. Exploratory, yes.

        3 Q. Did he tell you, when you had that conversation, what

        4 the status of the stay-put advice was?

        5 A. No, at that time it was a question and an answer. It

        6 wasn't a conversation, per se. Not being disrespectful

        7 here, but it was just a very short exchange between he

        8 and I, which we had many, many throughout the entire

        9 incident.

        10 Q. I'm sure.

        11 A. That was the exchange. And he said, "I don't know."

        12 Q. Do you know whether he went and discussed that question

        13 with anybody else?

        14 A. You'd have to ask Group Manager Welch that, sir.

        15 Q. Right.

        16 At that stage, in terms of priorities, you've had

        17 this question and answer with Group Manager Welch, were

        18 you prioritising firefighting or search and the rescue

        19 or were they the same --

        20 A. Search and rescue.

        21 Q. Search and rescue.

        22 Jumping ahead a little bit, on page 11 of your

        23 statement, in the middle of the page, you refer to

        24 a time I think quite early on in the incident.

        25 A. Yes.
        90

        1 SIR MARTIN MOORE-BICK: Are you comfortable?

        2 A. I am, just sweaty palms. That's okay; it's everybody in

        3 the room, sir.

        4 SIR MARTIN MOORE-BICK: I think you're right.

        5 MR MILLETT: I just want to see if I can get a time on this

        6 and then we'll go back, but in the middle of page 11,

        7 just after you've discussed a deployment and information

        8 you got from Murphy and Cornelius -- this is floor 14 --

        9 you say:

        10 "By this time the situation had deteriorated even

        11 further. This was very early on in the incident and the

        12 fire was developing so rapidly that BA crews were

        13 finding it difficult to get beyond the twelve[sic]

        14 floor."

        15 A. Correct.

        16 Q. Was that before or after you had this question and

        17 answer discussion with Group Manager Welch about

        18 changing the stay-put advice?

        19 A. Before.

        20 Q. Before. Okay.

        21 Now, I want to just look, if I can, at a number of

        22 particular deployments and see if you can help me with

        23 them.

        24 A. Okay.

        25 Q. Is that all right?
        91

        1 A. It's absolutely fine, yes.

        2 Q. Okay. The first one is about a rescue -- well, a trip

        3 to the 20th floor.

        4 A. Yes.

        5 Q. Were you at the bridgehead when Crew Manager Secrett and

        6 Firefighters Badillo and Dorgu left the bridgehead to go

        7 to the 20th floor to perform a rescue?

        8 A. I would have been, but I wasn't aware they went there.

        9 Q. You weren't aware?

        10 A. No.

        11 Q. Okay.

        12 Were you aware that an FSG call was in progress with

        13 a 12-year-old girl on the 23rd floor?

        14 A. Most likely, because we had multiple calls at that time,

        15 so if you asked me the number of a floor or flat,

        16 I wouldn't be able to tell you.

        17 Q. Right. So let me just see if I can get a time on this.

        18 If you go to the operational response report and

        19 turn to page 59 and 60, 59 first of all, we see at

        20 01.35.24, Operations Manager Norman -- she's in the

        21 control room at Stratford -- rings the team leader,

        22 Watch Manager Meyryk, on CU8.

        23 A. Yes.

        24 Q. There's a conversation she has.

        25 Then over the page we have a summary here of the
        92

        1 information that is passed to CU8, and the source of

        2 that is it's admin call and Vision.

        3 You'll see that the floor number of the fourth entry

        4 down is number 23, and there are two adults and eight

        5 children. Remarks: smoke going into the flat.

        6 A. Yes.

        7 Q. Now, that's at that time.

        8 Do you remember getting information at the

        9 bridgehead, whilst you were in charge of it, after -- or

        10 just after that time, about a number of people on floor

        11 23?

        12 A. Can you just remind me of the time?

        13 Q. Well, that information comes in at 01.35.24.

        14 A. Not specifically, but there was -- no, is the answer.

        15 As with the BA crews that were going up, again,

        16 I wouldn't be able to keep tabs on them because I wasn't

        17 the entry control officer, although I was briefing

        18 people. But I didn't have -- I clearly can't recall any

        19 specific numbers or flats. Well, maybe one or two.

        20 Q. Do you remember having any discussion with firefighters

        21 Secrett, Badillo and Dorgu as they went up the tower?

        22 A. No.

        23 Q. Did you --

        24 A. Sorry, go on.

        25 Q. Did you learn from them while they were up the tower
        93

        1 about the conditions they discovered once they got to

        2 the 20th floor?

        3 A. No.

        4 Q. Or conditions in the stairwell?

        5 A. Not me personally, but they may well have briefed the

        6 entry control officer on return, which I would suggest

        7 they did.

        8 Q. Right.

        9 Just to pin this down, in time, we have the dispatch

        10 time or the tally-out time for Secrett, Dorgu and

        11 Badillo at about 1.33. Just to be clear, for

        12 Firefighter Secrett, his telemetry data shows that the

        13 tally-out time for him was 01.33.57, and the others

        14 01.33.33 and 01.35.01. So that's the time they tally

        15 out, but I think you've told us that you didn't have

        16 a discussion with them about what they were doing when

        17 they went up?

        18 A. That's correct, I didn't. I can't recall it, but there

        19 were a lot of BA crews -- well, everybody available at

        20 that time was going up, and I don't specifically

        21 remember speaking to any of that crew.

        22 Q. Do you remember whether Alex De St Aubin spoke to that

        23 crew?

        24 A. You'd have to ask Firefighter De St Aubin, sir.

        25 Q. Do you remember whether there were BA crews going up
        94

        1 into the building up the stairs from the bridgehead who

        2 weren't telling you or Alex De St Aubin where they were

        3 going or what they were doing?

        4 A. That did happen.

        5 Q. It did happen?

        6 A. It did happen, throughout the incident.

        7 Q. Throughout the incident?

        8 A. On a few points where I was maintaining control, command

        9 and control, and I remember one specific incident where

        10 a crew from Hammersmith went past the entry control

        11 point with their tallies in their BA sets, which

        12 I observed, and I sent a crew manager after them, Crew

        13 Manager Tilsley from Paddington, to get them back and to

        14 book in correctly.

        15 Q. Right. How far into the incident?

        16 A. I couldn't tell you.

        17 Q. Just focusing on this trio of firefighters going to the

        18 20th floor, we have them leaving the bridgehead at 01.33

        19 or so, 01.33.57.

        20 Do you remember whether after that time, when they'd

        21 gone, any further FSG information came to the bridgehead

        22 about floor 23?

        23 A. It rings a bell.

        24 Q. It rings a bell?

        25 A. Yes, but I can't -- floor 23 does ring a bell.
        95

        1 Q. Any particular flat number?

        2 A. No. I will say that numbers of flats, floors, times,

        3 throughout the incident, except with one exception,

        4 where I kept FSG notes in my tunic and retrieved them

        5 the following week, that's the only time stamp that

        6 I have from the entire incident, other than when I went

        7 in and came out of the tower.

        8 Q. Right.

        9 Can you help us with when the FSG call came in about

        10 a flat on the 23rd floor?

        11 A. No, sir, I can't. I can't give you the time at all.

        12 Q. What about a call in relation to a flat on the 20th

        13 floor, 175, do you remember --

        14 A. I believe so, possibly. I don't know.

        15 Q. Do you know when that --

        16 A. I remember my first BA crew but -- no, they went to the

        17 16th floor, sorry, it was a different --

        18 Q. I am going to some to the 16th floor in a minute, but

        19 just on -- there are two calls that are in progress --

        20 A. Yes.

        21 Q. -- to tell you, after 1.30, and after 1.30 I'll show you

        22 the CU8 information about --

        23 A. Okay.

        24 Q. -- the flat on the 23rd floor.

        25 The flat on the 20th floor, 175, you say that's FSG
        96

        1 information which rings a bell.

        2 Do you remember, having received FSG information

        3 about flat 175, what you did with that information?

        4 A. I can answer by saying that all information -- FSG

        5 information, sorry -- received at the bridgehead was

        6 acted upon -- was recorded and acted upon by committing

        7 BA crews.

        8 Q. Do you remember whether the information about flat 175

        9 on the 20th floor was received by you at the bridgehead

        10 before the trio -- Secrett, Badillo and Dorgu -- had

        11 left the bridgehead?

        12 A. No, I don't remember.

        13 Q. Having received the information about flat 175 on the

        14 20th floor, did you then instruct a BA crew to go to

        15 that flat?

        16 A. At that time?

        17 Q. Yes.

        18 A. If I had a BA crew, yes, they would've been committed.

        19 Most likely, at that time, we had run out.

        20 Q. Right.

        21 Do you remember the trio of Secrett, Badillo and

        22 Dorgu coming back down to the bridgehead?

        23 A. No.

        24 Q. You don't?

        25 A. No.
        97

        1 Q. Do you remember a discussion with Crew Manager Secrett

        2 about a trip that he'd made to --

        3 A. No, definitely not.

        4 Q. -- the 20th floor. What about Badillo?

        5 A. No.

        6 Q. What about Dorgu?

        7 A. No.

        8 Q. Are you clear in your recollection?

        9 A. I'm quite clear, yes.

        10 Q. Would --

        11 A. Not that I can recall. I mean, I've got quite a good

        12 recall on events generally speaking. I don't recall

        13 that.

        14 Q. Yesterday you were quite clear that your practice would

        15 be to have a face-to-face debrief with any BA wearer who

        16 had gone up into the building.

        17 A. If possible, yeah. If it was important information,

        18 certainly. Which is what I tried to do to a point where

        19 I became overwhelmed by the amount of people giving me

        20 information. Fortunately for me there was another watch

        21 manager, De Silvo, who was detailed to come to the

        22 bridgehead to assist, and she took over the FSG -- well,

        23 I detailed her to take over the FSG.

        24 Q. How soon was that after you had started?

        25 A. Well, you'd have to look at when Golf 341 booked
        98

        1 status 3, and then you would add, say, a time lapse

        2 of minutes while Watch Manager De Silvo was being

        3 briefed, you know, on the fire ground, and then she was

        4 escorted up to the bridgehead by -- or accompanied,

        5 I should say, by Watch Manager Watson, Paul Watson, and

        6 when she came I was very happy to see another watch

        7 manager and so I detailed her to get a grip, is the word

        8 I used, on the BA procedures and the FSG.

        9 Q. Right.

        10 Now, we have Crew Manager Secrett coming down to the

        11 bridgehead with an end of wear time of 01.57. We have

        12 Badillo with an end of wear time of about the same and

        13 also Dorgu. So just before 2 o'clock, a trio of BA

        14 wearers come down to the bridgehead. I know you say you

        15 didn't have a debrief with any of them.

        16 Do you remember any firefighter at around that time

        17 coming down to the bridgehead dangerously low on air?

        18 A. Yes. They all did. Most of them.

        19 Q. Right.

        20 A. That's the way it became initially, yes.

        21 Q. Do you remember a firefighter coming down with metabolic

        22 heat stress?

        23 A. No.

        24 Q. Do you remember firefighters coming down dangerously low

        25 on air and going out of the bridgehead without
        99

        1 debriefing you?

        2 A. No. I wouldn't allow that to happen.

        3 Q. You wouldn't allow that to happen?

        4 A. Not if I was aware of what was happening, I wouldn't

        5 allow it.

        6 Q. I was going to say, because we have this trio of

        7 firefighters, they go up to the 20th floor to perform

        8 a rescue, they don't succeed because they can't find

        9 anybody in the flat, they run out of air -- we've heard

        10 evidence about this -- and come down a smoky stairway,

        11 at least one of them very low on air, and then leave the

        12 bridgehead and not do a debrief with you. I am trying

        13 to get a feel on whether that was something you

        14 remember.

        15 A. I don't remember seeing them at all. They may have

        16 spoken to the people on the BA boards, which I would say

        17 definitely happened.

        18 Q. Right.

        19 Do you recall any firefighter coming down to you

        20 before 2 o'clock and saying the stairwell is completely

        21 smoke-logged?

        22 A. Yes.

        23 Q. Who was that?

        24 A. Firefighter Murphy and Firefighter Cornelius, Crew

        25 Manager Stern and Firefighter Hippel. Particularly
        100

        1 Firefighter Murphy from my -- who was one of my guys at

        2 the time from Kensington, and Firefighter Cornelius.

        3 Q. We are going to look at that deployment in some detail

        4 in a moment.

        5 A. Okay.

        6 Q. But when they did come down to you and tell you that,

        7 did that indicate to you that residents in the building

        8 needed to be told by the control room about those

        9 conditions?

        10 A. Certainly.

        11 Q. And that BA wearers going up to perform rescues and

        12 evacuations needed to make sure that they could get

        13 those residents down the stairwell in some way?

        14 A. Without a doubt, but the issue of bringing -- at this

        15 time, I still -- we don't have any facilities to bring

        16 people through smoke without injuring them. Sorry,

        17 smoke of that intensity and that degree of

        18 smoke-logging.

        19 Q. Right.

        20 A. Otherwise my guys wouldn't be wearing breathing

        21 apparatus. This is a highly irrespirable atmosphere,

        22 toxic, and you won't get very far.

        23 Q. If the conditions on the 20th floor that Secrett, Dorgu

        24 and Badillo had discovered -- thick smoke in flat 176,

        25 thick smoke in the lobby, thick smoke in the stairway
        101

        1 right down to just before the bridgehead, as Crew

        2 Manager Secrett told us yesterday -- in the light of

        3 those conditions that were there, as he said, before

        4 2 o'clock, what advice should the control room be giving

        5 to callers who are trapped in their flats?

        6 A. A description of events -- a description of the

        7 conditions.

        8 Q. Right. Was it important for control room themselves to

        9 know precisely what was happening inside the building?

        10 A. Of course, yes, very important. I would suggest that

        11 that crew went to the incident commander, who was their

        12 officer anyway. If they didn't brief me, they would've

        13 spoken to the entry control board, and they would

        14 certainly, I would say -- yes, certainly -- spoken to

        15 their watch manager.

        16 Q. Right.

        17 Now, we're going to take a break in just

        18 a few minutes.

        19 A. Okay.

        20 Q. Can I just ask you about a particular deployment.

        21 Do you remember the first deployment of EDBA?

        22 A. Yes.

        23 Q. And that was a deployment of a five-person or

        24 five-firefighter Paddington team. Do you remember that?

        25 A. That's correct, yes. Paddington's line crew, yes.
        102

        1 Q. We have them tallying out of the bridgehead at 1.56 and

        2 1.57 or so. Would that be about right in terms of --

        3 A. That would be, yes.

        4 Q. -- your recollection?

        5 A. Yes.

        6 Q. Do you remember where they were tasked to go?

        7 A. They were tasked to go to the roof.

        8 Q. Whose idea was that?

        9 A. Incident commander.

        10 Q. Who was that at that stage?

        11 A. Watch Manager Dowden, I believe.

        12 Q. What were they going to do on the roof?

        13 A. Set up a line, a drencher system or set up a series of

        14 lines with their special skills -- for a drencher.

        15 Q. You say special skills, did that particular crew have

        16 particular drencher --

        17 A. Their brief was to go and set up a line -- a system of

        18 lines to secure people or to secure equipment on the

        19 roof.

        20 Q. You say lines; do you mean ropes?

        21 A. Ropes, yes. Sorry, we call them lines in the Fire

        22 Brigade. Ropes, yes. They are rope specialists.

        23 Q. Right, okay. And how would that work, or how was it

        24 supposed to work?

        25 A. I don't know. I didn't give the -- it wasn't my plan.
        103

        1 I didn't give the instruction.

        2 Q. Do you think it was a feasible strategy?

        3 A. No.

        4 Q. Why is that?

        5 A. Why? The building from the -- as far as I was concerned

        6 at that time, there were multiple seats of fire from the

        7 16th floor all the way up, and they wouldn't have made

        8 it.

        9 Q. Right.

        10 A. I told them that. I said to them, from my perspective,

        11 inside the tower, I don't think it's a good idea.

        12 I didn't believe it was a good idea, but I can

        13 understand the logic of it. But the actuality was,

        14 I said to them, to Crew Manager Wigley, I said, "Phil,

        15 I don't think it's a good idea, I don't think you're

        16 going to make it."

        17 Q. Right.

        18 Did you think there might have been a better use

        19 for --

        20 A. Yes.

        21 Q. -- the EDBA than using it to go to the roof?

        22 A. Rescue. Rescue.

        23 Q. Rescue?

        24 A. Yes.

        25 Q. Did you tell Phil Wigley that?
        104

        1 A. Something along those lines, and he said to me, "Well,

        2 I've been instructed by the incident commander."

        3 I said, "Well, fair enough." So I knew they had a long

        4 travel distance so I told them not to start up

        5 immediately, which goes outside policy, BA ...

        6 Sorry, I need to take some water.

        7 He had some young firefighters with him, so they

        8 were less experienced. I knew it was a very hazardous

        9 journey, so I said to them, "Look, start up when you see

        10 thick smoke, not now. So give me your tallies, and get

        11 up as many floors as you can into the building, if you

        12 are going to get to the roof, and then start up and look

        13 after each other."

        14 Q. Did they start up to go to the roof?

        15 A. They didn't start up there. They gave me their tallies

        16 and then they walked as far as they could into the tower

        17 with their equipment.

        18 Q. How far did they get, do you know?

        19 A. You'd have to ask them that. I don't know. I can't

        20 recall. I know they carried out a rescue instead. They

        21 never made it to the roof. They weren't going to

        22 anyway; it was never going to happen.

        23 Q. Were you able to stay in radio contact with them?

        24 A. No.

        25 Q. Did you try?
        105

        1 A. I tried. It would be good to ask the entry control

        2 officers these questions. I think Watch Manager

        3 De Silvo might have been there at that time, although

        4 I don't know.

        5 MR MILLETT: Mr Chairman, it may be appropriate now to have

        6 another break.

        7 SIR MARTIN MOORE-BICK: Yes.

        8 THE WITNESS: Thanks very much.

        9 SIR MARTIN MOORE-BICK: Mr O'Keeffe, we'll come back at

        10 12.20. All right?

        11 THE WITNESS: Okay, thank you very much.

        12 SIR MARTIN MOORE-BICK: No discussion of your evidence.

        13 THE WITNESS: Of course.

        14 SIR MARTIN MOORE-BICK: Thank you very much.

        15 12.20, then, please.

        16 (12.07 pm)

        17 (A short break)

        18 (12.20 pm)

        19 SIR MARTIN MOORE-BICK: I think Mr O'Keeffe is just on his

        20 way.

        21 MR MILLETT: Very good.

        22 (Pause)

        23 SIR MARTIN MOORE-BICK: All right, Mr O'Keeffe?

        24 THE WITNESS: Yes, sir.

        25 MR MILLETT: Mr O'Keeffe, thank you for coming back to us.
        106

        1 You have given us a very clear picture of the

        2 development of smoke in the stairwell.

        3 A. Yes.

        4 Q. So have other witnesses.

        5 Could you please be shown page 87 of the operational

        6 response report.

        7 If we just focus on 01.58, the time there, it says

        8 that between 01.39 and 01.58, which is the time when you

        9 were managing the bridgehead, the following residents

        10 have either been rescued assisted out or self-evacuated

        11 from Grenfell Tower, and then there is a list of 20

        12 individuals, and the source of that is various different

        13 notes.

        14 I just want to ask you: given that 20 individuals

        15 come out between 1.39 and 1.58, how did they manage to

        16 get through the lobbies and down the stairs if they were

        17 so completely smoke-logged? What was the method by

        18 which they --

        19 A. Well, they were either carried or assisted.

        20 Q. Right. What about their breathing?

        21 A. They would've been -- they would've had smoke

        22 inhalation.

        23 Q. Right. Was there any way of being able to assist

        24 residents who were being evacuated with --

        25 A. No.
        107

        1 Q. -- their breathing through smoke?

        2 A. The firefighters started doing that, taking off their

        3 own masks and putting them on people.

        4 Q. Right.

        5 A. Whilst they were in the smoke.

        6 Q. Okay.

        7 Given what you've told us earlier about the

        8 conditions of the building by about 2 o'clock in terms

        9 of smoke-logging, how safe would it have been for

        10 individuals to evacuate from their flats and come down

        11 the stairwell?

        12 A. It would've been unsafe, dangerous.

        13 Q. Right. What would that mean to your way of thinking at

        14 the time about the stay-put policy and whether it should

        15 change?

        16 A. Sorry, can you ask me that question again?

        17 Q. Yes, of course.

        18 Did that fact, the fact that it would be unsafe,

        19 have any impact on how you viewed the safety or

        20 otherwise of the stay-put policy?

        21 A. I wasn't thinking about the stay-put policy for most of

        22 the time I was in there; I was thinking about rescuing

        23 people.

        24 Q. Right. And how would one rescue a resident in the

        25 middle of the tower at that time?
        108

        1 A. With great difficulty.

        2 Q. Of course --

        3 A. But how? Physically take the person out and hope that

        4 you can get downstairs with them. I know from

        5 firefighters who were rescuing people that people were

        6 collapsing while they were being rescued and they had to

        7 be carried the rest of the way. So they were taken out

        8 into the smoke because there was no other option and

        9 then they would lose consciousness, and then they would

        10 be carried down by the firefighters, rescued.

        11 Q. Now, I'm going to ask you in a moment or two about some

        12 specific rescues.

        13 Before I do, I just have a few more general

        14 questions about information flows at the bridgehead.

        15 A. Okay.

        16 Q. First of all, did you brief firefighters before they

        17 were committed?

        18 A. Not all the firefighters, no. I did until Watch Manager

        19 Louisa De Silvo turned up, yes.

        20 Q. What kind of information were you able to give those

        21 firefighters you did brief?

        22 A. The number of the floor, number of the flat, number of

        23 people requiring rescue and the conditions believed --

        24 if known, the conditions in that area, on that floor.

        25 Q. Just to be clear, where were you getting that
        109

        1 information from?

        2 A. From other firefighters. That was it, yes. And some

        3 FSG --

        4 Q. Some FSG.

        5 A. -- information, where a resident would open a door and

        6 see smoke and then that would be -- because with fire

        7 survival guidance, our operators stay on the line with

        8 the person indefinitely, and that person will relay the

        9 information back to our controller, who will relay that

        10 back to the command people, who will relay that back up

        11 to the fire sector or search and rescue sector.

        12 Q. Right.

        13 In each case, whenever you briefed a crew to go up

        14 into the tower, did you make it clear for what purpose

        15 you were sending them, firefighting, rescue?

        16 A. Absolutely, yes.

        17 Q. What was it in each case?

        18 A. Initially, as I stated, I was committing crews with

        19 firefighting equipment, until we ran out of it, we

        20 didn't -- we just -- and additional to that -- it's not

        21 a simple answer, but additional to that, firefighters

        22 were becoming compromised, meaning they were running out

        23 of air, carrying a lot of equipment, which can be up to

        24 50 kilograms, including a BA set and fire kit, so

        25 an individual would be carrying that upwards, vertically
        110

        1 travelling up through the conditions they were in and

        2 everything else. So the brief would be -- pretty much

        3 used up all the firefighting equipment rapidly -- would

        4 be to do search and rescue, extraction or whatever you

        5 want to call it. But find the location, locate the

        6 person and bring them out.

        7 Q. When firefighters returned to the bridgehead -- we've

        8 heard a little bit of this specifically with the

        9 Secrett, Badillo, Dorgu trio -- in general terms, did

        10 they debrief with you?

        11 A. No.

        12 Q. They didn't?

        13 A. I cannot recollect speaking to North Kensington's crew.

        14 Q. No, but what about other crews? Did you generally

        15 debrief with other --

        16 A. If I had the opportunity, but quite often, if they were

        17 bringing down a casualty, you won't stop to speak to

        18 somebody on the bridgehead. Every casualty that was

        19 brought down was brought straight out the building as

        20 rapidly as possible for medical treatment.

        21 Q. When they came back to the bridgehead without having

        22 carried out a rescue, or where their deployment had not

        23 been successful for the purpose for which they had been

        24 sent, did you debrief with them?

        25 A. They would come and seek me out ordinarily and tell
        111

        1 me -- which happened quite a lot -- that they couldn't

        2 make it to the fire flats.

        3 Q. Did they give you information about what the conditions

        4 were like that they did encounter?

        5 A. Yes.

        6 Q. Did you record that information?

        7 A. It would've been recorded on the BA board.

        8 Q. Okay. And --

        9 A. Or on the FIB or on the wall.

        10 Q. The BA board being the forward information board?

        11 A. Yes.

        12 Q. And on the wall. Was that information then communicated

        13 back to the incident commander?

        14 A. As I said, my point of contact was Watch Manager Watson

        15 for quite a lot of the -- so I was feeding him

        16 information and he would take it back.

        17 Q. Were you confident that that information about the

        18 conditions in the tower was --

        19 A. Confident?

        20 Q. -- going further back up the chain?

        21 A. I wouldn't say confident. I would hope that was being

        22 transmitted.

        23 Q. Did the information that you were getting from

        24 firefighters who had gone into the tower and had come

        25 down, as it were, empty handed, without having carried
        112

        1 out their mission, did that information make you

        2 consider firefighting tactics and any change you needed

        3 to make in it?

        4 A. Yes.

        5 Q. What?

        6 A. I told the guys to stop starting up at the bridgehead

        7 and to travel as far as they could to extend the

        8 duration of their sets.

        9 Q. Did you discover how far up into the tower they could

        10 get without breathing apparatus?

        11 A. One particular crew went seven floors, but that was

        12 later on when the fire had vented. Initially, I don't

        13 know.

        14 Q. Were you monitoring what floors firefighters were able

        15 to reach and not able to reach as you went?

        16 A. You had a general sense of the limitations of what they

        17 were doing or how far they could travel.

        18 Q. Right. And after the first of half an hour or so of

        19 your being on the bridgehead, were you able to continue

        20 to maintain contact with the relevant incident

        21 commander?

        22 A. No.

        23 Q. Right. So at what point do you think you lost reliable

        24 radio contact with the incident commander?

        25 A. Just after pumps 10.
        113

        1 Q. You said before, just after pumps 10.

        2 Do you know why you lost reliable radio contact at

        3 that stage?

        4 A. Well, I would say that the radio traffic was

        5 considerable, and that Watch Manager Dowden, who at one

        6 stage was managing a 25-pump incident, was entirely

        7 occupied with that incident, and it would have been very

        8 difficult for him to take time to use his radio when he

        9 had this unfolding in front of him.

        10 Q. Okay, so --

        11 A. And also -- just to finish, sorry, just to finish.

        12 Q. Please.

        13 A. When there's a lot of radio traffic, it's very difficult

        14 to transmit any information or to get -- it just

        15 overwhelms it.

        16 Q. Now, you've given us a lot of information about the use

        17 of the forward information board, the sources of that

        18 information and the wall.

        19 Did you know at the time about a firefighter, a crew

        20 manager, doing an exercise of collating and

        21 cross-checking fire survival guidance information that

        22 he was getting on a car bonnet on the fire ground?

        23 A. I heard about it, yes, I did make an inquiry and, yes,

        24 there was, yes. I don't know exactly who it was.

        25 Q. No. You said you made an inquiry.
        114

        1 A. I was informed about it.

        2 Q. When was that?

        3 A. Early on in the incident.

        4 Q. Right. You say you made an inquiry; what made you make

        5 the inquiry?

        6 A. Just what was going on outside, you know. I mean, we

        7 were speaking to each other constantly, and I think

        8 I was in the tower for about 8 hours, so in that 8-hour

        9 window, there's such an amount of information that

        10 I cannot recollect individual conversations. Some

        11 I can, some I can't. The really important ones, that

        12 I think were important, I can because they're stamped on

        13 my mind; the others, no.

        14 Q. Okay. Did there come a time when you understood that

        15 the chain of communication from the command unit to the

        16 bridgehead had changed?

        17 A. Yeah, in a degree, when I started getting pieces of

        18 paper coming up, I knew that the radio transmissions

        19 were becoming difficult.

        20 Q. Right.

        21 A. And it was more expedient to have someone to deliver the

        22 information in person.

        23 Q. Did you ever talk to Daniel Egan?

        24 A. Never, no. Not during the incident. I know Daniel Egan

        25 reasonably well, station manager, but, no, I didn't see
        115

        1 him.

        2 Q. At the foot of page 9 of your statement, you refer to

        3 residents coming up to you and giving you information

        4 and you had to stop them physically.

        5 A. Yes, that was very early on. That was at the very

        6 beginning.

        7 Q. I was going to ask you.

        8 A. The police statement jumps around a bit, but that was at

        9 the very beginning of the incident.

        10 Q. That's helpful, thank you.

        11 The information that you got from residents, you say

        12 at the very bottom:

        13 "I took flat numbers from two of them, but the other

        14 people just threw their keys at me. They had no numbers

        15 on them so I didn't know which flats the kids were in."

        16 A. That is right.

        17 Q. "In the end, crews physically took them out of the

        18 building."

        19 Just in terms of that information, did you record

        20 that information anywhere?

        21 A. Not me personally, no.

        22 Q. Did anybody else?

        23 A. I don't -- I think the -- I directed the information

        24 towards one of the firefighters that was there with the

        25 BA board, but I can't recall exactly, so I cannot give
        116

        1 you an approximate answer to that.

        2 Q. Right.

        3 A. My concern at that very moment -- and it was in the

        4 moment -- was preventing people from going back into the

        5 fire, and they come up the stairs in a state of anxiety,

        6 and I had enough on my plate dealing with what was

        7 dealing with unfolding, so I turned around to them and

        8 said, "No, you can't come in". And we had this

        9 discussion where one lady was trying to -- she was quite

        10 upset, she wanted to go back in, and I was trying to

        11 persuade her in the gentlist way I could that it wasn't

        12 possible.

        13 Q. Right.

        14 A. So I asked -- it came to overwhelm me a bit. Not

        15 emotionally at that time -- it did later, but --

        16 SIR MARTIN MOORE-BICK: Are you all right dealing with this

        17 now?

        18 THE WITNESS: I'll take a break one second to take a sip of

        19 water.

        20 SIR MARTIN MOORE-BICK: Have a pause.

        21 THE WITNESS: I'm okay, I'll just have a pause, yes.

        22 (Pause)

        23 MR MILLETT: Take your time.

        24 A. So I asked some firefighters to escort the residents

        25 back down the stairs. That's what happened. It
        117

        1 happened very quickly, over -- how long does it take to

        2 persuade someone that they can't go back into

        3 a building?

        4 Q. Yes.

        5 Just a couple of questions about something you gave

        6 some evidence about earlier on about a discussion with

        7 Richard Welch about EDBA.

        8 A. Yes.

        9 Q. At the bottom of page 11, you say you have a discussion

        10 with the incident commander -- this is six lines up from

        11 the end of page 11 -- about EDBA. Is that the

        12 discussion you are referring to that you had with

        13 Group Manager Welch or is that a different discussion?

        14 A. No, that's a different discussion. That was earlier on,

        15 earlier on in the incident.

        16 Q. Right.

        17 A. That's not the discussion I had with Group

        18 Manager Welch.

        19 Q. Okay.

        20 Then just pursuing this a bit more.

        21 A. Okay.

        22 Q. At the bottom of page 12 -- and this is just, in time,

        23 when you say that Andy Walton had appeared -- you say:

        24 "I continued with my team as before. At some point

        25 Group Manager Richard WELCH arrived at Bridgehead and
        118

        1 stated that he was taking over. I briefed him and

        2 discussed the current situation with him. I told him

        3 that SDBA crews were unable to reach persons on the

        4 upper floors and said that this was a job where EDBA was

        5 required."

        6 That discussion, was that the first conversation you

        7 had with Richard Welch?

        8 A. Correct, it was the very first -- that was the very

        9 first conversation I had with him that night.

        10 Q. So that was the question and answer --

        11 A. One of many, but that's the first.

        12 Q. Right, I see.

        13 You then go on to say:

        14 "Richard WELCH asked me how much EDBA was required

        15 and I said, 'All of it.' And he said that wasn't

        16 possible but I said that we needed all of the EDBA in

        17 London; we had to have it. He said, 'Really?' and I

        18 replied said 'Everything'. He said 'Ok, I'll get EDBA.'

        19 He's a good Officer Richard WELCH. I've never worked

        20 with him before but he seemed like a very practical man

        21 and I communicated quite well with him. He let me carry

        22 on doing what I was doing."

        23 Is that the discussion you gave evidence about

        24 a little earlier on this morning --

        25 A. Yes.
        119

        1 Q. -- about the first, as it were, question and answer?

        2 A. That is correct.

        3 Q. Okay. Is it at that point, do you think, that he then

        4 went off and summoned all the EDBA he could get his

        5 hands on?

        6 A. He wouldn't have done that personally; he would've got

        7 someone to do it for him.

        8 Q. I just want to get a time fix on that if we can.

        9 If you could please be shown tab 23, the short

        10 incident log. We think we have a time for this, but

        11 I just want to see if you can help me with it.

        12 If you turn, please, to page 23. At 02.42.03, there

        13 is an informative message which says, halfway down:

        14 "MAJOR INCIDENT DECLARED HIGH RISE PROCEDURE

        15 IMPLEMENTED ..."

        16 Et cetera.

        17 Then:

        18 "... TL ALP EDBA MAIN CONTROL FSG ..."

        19 Now, that, I think, is the first reference we've

        20 seen here to EDBA.

        21 Would that be about the time when you had your

        22 discussion with Richard Welch?

        23 A. No, I don't think so. That's an informative message, as

        24 you can see, and when you send a description of an

        25 incident, you have got to include the equipment being
        120

        1 used currently at that time.

        2 Q. Right.

        3 We've seen an early deployment of EDBA with the

        4 Paddington five-man crew --

        5 A. That's correct.

        6 Q. -- just before 2 o'clock, so there was clearly EDBA

        7 equipment on the fire ground at that stage.

        8 Can I just ask you: would it be necessary

        9 specifically to order EDBA or would some pumps from some

        10 stations have EDBA already with them?

        11 A. You have to order it.

        12 Q. You have to order it?

        13 A. Specifically.

        14 Q. So do you know how the Paddington five-man crew came to

        15 have EDBA with them by 1.57? Was there a specific

        16 order --

        17 A. Because the incident commander requested two FRUs. If

        18 you look previously for an assistant message sent

        19 earlier, you would've seen a request for two -- I think

        20 it was two -- fire rescue units.

        21 Q. So --

        22 A. That's why that -- the fact that they were being used

        23 would be included in the informative. I don't know what

        24 time I spoke to Richard Welch and had that conversation

        25 with him and I don't know what time the -- I will guess
        121

        1 a priority message was sent for additional EDBA.

        2 Q. We have a message at 01.29.46:

        3 "... MAKE PUMPS 20 FRU X 2."

        4 A. There you go. That's it.

        5 Q. Right, okay.

        6 A. What Watch Manager Dowden is asking for is a 20-pump

        7 attendance and two FRUs. We use the terminology, "Make

        8 pumps 20 and FRUs 2", that's how we speak. It's radio

        9 discipline.

        10 Q. How many EDBA sets would there be on one FRU?

        11 A. I think four.

        12 Q. So two FRUs, eight?

        13 A. Yes.

        14 Q. Which would account for how there were five EDBA

        15 wearers.

        16 A. There might have been five on the FRU that night.

        17 I couldn't go into the detail of it.

        18 Q. That's helpful.

        19 So when an informative message comes, "EDBA", what

        20 does that tell us? What does it tell us about how many

        21 EDBAs are on order?

        22 A. Informative message merely states that it's in use.

        23 Q. Okay.

        24 A. Not how many.

        25 Q. Okay. I think the first message I have with anything
        122

        1 like "all EDBA sets" is -- and I may be wrong about

        2 this -- but there's a turning out message which starts

        3 at 03.55, turning out with message for EDBA. Would that

        4 reflect a general call for all EDBA?

        5 A. Turning out is a mobilisation, it's the fact they've

        6 been turned out.

        7 Q. What would that tell us about how many --

        8 A. What you need to find, sir, is the assistance message

        9 for when it was requested from the fire ground to

        10 increase EDBA attendance.

        11 Q. Well, let me just show you, and I'm sorry to labour this

        12 a bit.

        13 A. It's okay.

        14 Q. Page 24 of the short incident log, the very top of the

        15 page, at 03.05.51, that says:

        16 "... RPE UNIT WITH EDBA APPROX 1 HOUR THESE ARE

        17 BEING ORDERED AS THE BA SUPPORT UNITS."

        18 Can you interpret that for us?

        19 A. That's a bulk carrier, that's not FRUs there, so --

        20 I forget the actual terminology. Or we have units in

        21 the Fire Brigade with ED -- BA support units which will

        22 bring fresh BA sets to the fire ground in a pod.

        23 Q. What does that tell you, if anything, about whether the

        24 discussion you'd had with Mr Welch, Group Manager Welch,

        25 about getting all EDBA sets had been actioned?
        123

        1 A. That would be -- I would say that would be after they

        2 were requested.

        3 Q. Right.

        4 A. So you have to go before that to find the moment where

        5 a priority message was sent to request make-up FRUs so

        6 many, and the CBRN team, which was the chemical,

        7 biological, radiation and nuclear team, they're EDBA --

        8 that's where they use EDBA, in that department, they

        9 would've been ordered on at the same time.

        10 Q. We'll look at that over lunch.

        11 A. Okay.

        12 Q. Can I start then by asking you about a specific

        13 briefing, and this is Hippel and Stern to the 16th

        14 floor.

        15 A. Yes.

        16 Q. Now, at page 10 in paragraph 3 on that page you

        17 describe -- it's about a third of the way down the

        18 page -- you committed one crew, Jamal Stern and

        19 Firefighter Hippel, to the 16th floor "because I had

        20 information that there was somebody who needed rescuing

        21 up there".

        22 First of all, what was that information, do you

        23 remember?

        24 A. A resident had told -- I believe had informed the crew

        25 that there was a -- or somebody had informed the crew
        124

        1 that there was a resident had approached them and that

        2 somebody was believed trapped in that area with smoke.

        3 Q. We looked at the telemetry data for Hippel and Stern

        4 earlier, and we have them tallying out of entry control

        5 at 01.17 or so.

        6 So is it right that the information that there was

        7 somebody on the 16th floor who needed rescuing was

        8 before that?

        9 A. Yes.

        10 Q. When they tallied out did you give Stern and Hippel

        11 a briefing?

        12 A. No, they were under air already. They were originally

        13 committed as the hose management crew.

        14 Q. In fact, you said earlier on this morning that they were

        15 the hose management crew, and in your statement on

        16 page 8 at the top you say you had already sent them to

        17 the fifth floor and then they went to the sixth floor.

        18 So the information about rescue on the 16th floor

        19 came to you, did it, while they were under air in the

        20 building?

        21 A. Correct.

        22 Q. Were you then able to communicate with them?

        23 A. Yes. I don't recall the exact communication but they

        24 were redeployed, because I didn't believe there was any

        25 fire on the 16th -- or I wasn't aware of any fire on the
        125

        1 16th floor at that time because it was so instantaneous,

        2 what was going on.

        3 Q. I see. So they didn't come back down to the

        4 bridgehead --

        5 A. No.

        6 Q. -- they were in the building and you communicate --

        7 which of the firefighters did you communicate over the

        8 radio with, do you remember?

        9 A. Crew Manager Stern, I believe.

        10 Q. Stern. And --

        11 A. I can't remember for certain.

        12 Q. Which channel were you on?

        13 A. That would've been 6. I was switching between 1 and 6.

        14 Q. Did you have any difficulties getting hold of him?

        15 A. Afterwards, yes. Not then. But afterwards, when they

        16 went up into the tower, I personally couldn't

        17 communicate with anybody.

        18 Q. Where were they, do you think, in the building when you

        19 first told them that you had an FSG for a rescue on the

        20 16th floor?

        21 A. I couldn't tell you.

        22 Q. Was it before or after they told you that, "It's fucked,

        23 it's going"?

        24 A. Afterwards.

        25 Q. And they were on the sixth floor at that stage?
        126

        1 A. No, that was well before that. They were utilised to

        2 reconnoitre that area. That was much earlier on -- that

        3 was before, I should say. They were detailed to go and

        4 check for fire spread and that had been reported to me.

        5 Q. Let me see if I can get the chronology then. On page 8

        6 at the top they tell you by radio that it's completely

        7 smoked out on this floor.

        8 A. Yes.

        9 Q. I think you said that was the sixth floor.

        10 A. That was the sixth floor, yes.

        11 Q. So when you briefed them to go to the 16th floor, having

        12 had the FSG information, was that after Stern had come

        13 back to you and told you it was smoked out on the sixth

        14 floor?

        15 A. Yes.

        16 Q. How long after, do you think?

        17 A. I couldn't tell you.

        18 Q. Long, short, minutes?

        19 A. Short.

        20 Q. So we can pinpoint that a bit better.

        21 And you tell him to go to the 16th floor. Does he

        22 respond, Jamal Stern?

        23 A. I don't recall.

        24 Q. You say in your statement that you had information that

        25 there was someone who needed rescuing there. Sorry,
        127

        1 I am back on page 10, a third of the way down, you say,

        2 "I had information".

        3 What form did you have that information in?

        4 A. I don't recall because I was getting so much information

        5 at that time.

        6 Q. Do you remember whether it was a piece of paper or a

        7 message from --

        8 A. It wasn't a piece of paper, it would've been either

        9 verbally or a message to me on the radio.

        10 Q. Verbally. Do you remember whether it was verbally from

        11 somebody coming up from the lobby or a firefighter

        12 coming down?

        13 A. I don't recall.

        14 Q. Now, what about communications with Justin O'Beirne? Is

        15 it possible that the information you gave as to

        16 Justin O'Beirne who passed it on to Hippel and Stern?

        17 A. Possibly.

        18 Q. When you deployed firefighters Hippel and Stern did you

        19 give them the flat number?

        20 A. I don't recall. I think it was the location. I don't

        21 recall, actually.

        22 Q. So when you say you had information on the 16th floor,

        23 is that the totality --

        24 A. No, I genuinely can't remember the details of numbers

        25 very much other than I knew they went to the 16th floor.
        128

        1 Q. Do you know roughly where in the building the flat that

        2 they were going to was?

        3 A. No.

        4 Q. Which side of the building?

        5 A. No.

        6 Q. No, you didn't.

        7 Were you aware at that stage that the fire had

        8 spread from the east facade?

        9 A. No.

        10 Q. You had communications with Hippel and Stern as they

        11 went up, I think you said.

        12 A. Before they went, yes.

        13 Q. Before they went.

        14 A. And then when they came back down.

        15 Q. I may have misunderstood you and it's my fault, but when

        16 they were in the tower --

        17 A. They were in the tower.

        18 Q. -- I thought you told us earlier that you told them to

        19 go to the 16th floor once they were up in the tower.

        20 A. Yeah, they were in the tower, they were still under air,

        21 they hadn't closed down. I will deploy them because

        22 I had information there was fire -- there was smoke,

        23 sorry, on the 16th floor.

        24 Q. Let me just go back then, I may have confused you and

        25 I'm sorry if I have.
        129

        1 When you gave them the instructions to go to the

        2 16th floor, where were Hippel and Stern?

        3 A. I don't know. They were in the tower.

        4 Q. They were in the tower, but they weren't at the

        5 bridgehead?

        6 A. No, they weren't at the bridgehead, no.

        7 Q. So you communicated with them by radio, as you've said?

        8 A. Yes.

        9 Q. That's what I thought. When you did that, did you know

        10 that they were with a resident?

        11 A. No.

        12 Q. Did you know that they were with the son of the man that

        13 Hippel and Stern were going to rescue on the 16th floor?

        14 A. Well, that would make sense.

        15 Q. But did you know that?

        16 A. No, I didn't.

        17 Q. Do you remember Stern and Hippel coming back down to the

        18 bridgehead after going to the 16th floor?

        19 A. Yes.

        20 Q. Do you remember a debriefing?

        21 A. I remember what Dick Hippel said, or Richard,

        22 Firefighter Hippel said to me.

        23 Q. What was that?

        24 A. It was on fire. He was shocked.

        25 Q. What was on fire?
        130

        1 A. The 16th floor.

        2 Q. The whole of it?

        3 A. It was completely smoked out, and he said he didn't see

        4 flame but he could feel intense heat.

        5 Q. Do you know how far into the 16th floor Richard Hippel

        6 went?

        7 A. No, I can't recall actually.

        8 Q. Do you think he told you?

        9 A. Probably, knowing Richard, yes, he's quite exact.

        10 Q. Were you satisfied that you'd got as full a debrief from

        11 Richard Hippel --

        12 A. Not a full, no.

        13 Q. -- that you could have done?

        14 A. It wasn't a calm environment at that time, it was --

        15 there were multiple rescue operations just commencing or

        16 in the process and I was trying to manage that at the

        17 bridgehead. So when firefighters would come to me and

        18 give me information, I would -- it wouldn't be all, you

        19 know, a very complex, long description, it would be --

        20 the required information is: there is fire on the 16th

        21 floor which could culminate in that.

        22 Q. Did Jamal Stern tell you about what he had experienced?

        23 A. I don't recall.

        24 Q. What impression did you get from the debrief that

        25 Richard Hippel gave you about the success of the rescue?
        131

        1 A. It was unsuccessful, I believe, and he was shocked that

        2 the 16th floor was on fire.

        3 Q. Did you record anywhere the information about the

        4 deployment?

        5 A. I don't recall. I don't remember.

        6 Q. Is it something you would have recorded on the forward

        7 information board?

        8 A. It would've been, yes.

        9 Q. Or on the wall?

        10 A. It would've been recorded, but not by me, because they

        11 would have to go then to the entry control officer.

        12 I had Justin O'Beirne there as well and a lot of people

        13 assisting and they would've got that information and put

        14 it on the wall at this stage.

        15 Q. Do you know what happened to that information that the

        16 deployment had been unsuccessful after it had been

        17 debriefed to you by Richard Hippel?

        18 A. Not precisely, but it would've been -- well, I would've

        19 known about it and the incident commander would've been

        20 informed also. But I was unable to communicate with the

        21 incident commander at that time. I did briefly tell him

        22 the floor -- that the 16th floor was on fire and that's

        23 when I urged him to make pumps 10.

        24 Q. Did you indicate to the incident commander that there

        25 was a failed rescue on that floor?
        132

        1 A. One of many, yes. I can't remember that one

        2 specifically but I was indicating to Watch Manager

        3 Watson, who was transporting that information outwards.

        4 Q. So your communication to the incident commander was via

        5 Watch Manager Watson?

        6 A. And other officers.

        7 Q. Which other officers?

        8 A. I don't recall.

        9 Q. But so far as you're concerned, you passed back up the

        10 communication chain the fact that the rescue mission to

        11 the 16th floor had not succeeded?

        12 A. Yes, because I deployed another BA team there more or

        13 less immediately.

        14 Q. Well, I was about to ask you that, that was my next

        15 question.

        16 Having discovered that this deployment with Hippel

        17 and Stern had not been successful to the 16th floor, did

        18 you deploy another team?

        19 A. I did immediately, yes, when they became available.

        20 I think it was Ealing, as far as I know.

        21 Q. Ealing, do you think?

        22 A. I believe so.

        23 Q. Just before we break, I wonder if we can just identify

        24 that in the --

        25 A. If you could say the name of the officer in charge,
        133

        1 I could probably identify it.

        2 Q. -- telemetry data. You think it was Ealing?

        3 A. Possibly.

        4 Q. Well, we have Hippel and Stern decoupling from bodyguard

        5 at -- well, it's a bit difficult because the times are

        6 all over the place -- but the end of their wear time we

        7 have as 01.38.

        8 A. Yes.

        9 Q. Would that be about right in terms of your recollection?

        10 They come down --

        11 A. Yes, it would be about right.

        12 Q. Right. There's a re-briefing at around that time,

        13 a Kensington and two from Hammersmith, Brodrick,

        14 Broderick and Sephton.

        15 A. Okay, they -- possibly -- they weren't the crew that

        16 went there. They would possibly have gone to another

        17 FSG within the building.

        18 Q. Right.

        19 A. Or firefighting.

        20 Q. We don't, I think, have an Ealing deployment. We have

        21 an Acton deployment at 01.52.51.

        22 A. So Ealing, who were the crews in Ealing?

        23 Q. Well, perhaps I'll look at this over the lunch break and

        24 come back to you.

        25 A. Okay.
        134

        1 Q. I can't at the moment see an Ealing crew until --

        2 A. Well, I don't know if it was Ealing, but I remember

        3 committing another crew to that flat.

        4 Q. Well, perhaps we can chase that up ourselves internally

        5 and come back to you --

        6 A. Okay. All right.

        7 MR MILLETT: -- after the break.

        8 Is now a convenient time for a break?

        9 SIR MARTIN MOORE-BICK: Yes. We'll have a break now.

        10 Again, please don't talk to anyone about your evidence

        11 and we'll resume at 2 o'clock.

        12 THE WITNESS: Okay, thank you very much.

        13 SIR MARTIN MOORE-BICK: Thank you very much.

        14 (Pause)

        15 Thank you all very much. 2 o'clock, please.

        16 (12.57 pm)

        17 (The short adjournment)

        18 (2.00 pm)

        19 SIR MARTIN MOORE-BICK: Yes. I think Mr O'Keeffe is just on

        20 his way now.

        21 MR MILLETT: Very good.

        22 (Pause)

        23 SIR MARTIN MOORE-BICK: Yes, Mr Millett.

        24 MR MILLETT: Mr O'Keeffe, thank you for coming back.

        25 A. Yes, sir.
        135

        1 Q. Can I ask you, first of all, a question about these

        2 FRUs.

        3 A. Yes.

        4 Q. And I think I was suggesting to you that the general

        5 call had gone out for full EDBAs a little bit later than

        6 perhaps was the case.

        7 Can I ask you to look, please, at the short incident

        8 log in tab 23 of the bundle and go to page 22.

        9 This is an entry at 02.16.58:

        10 "Make up.

        11 "CU8 FROM DAC OLOUGHLIN MAKE FRU X 10."

        12 A. That will be the call for the FRUs, EDBA.

        13 Q. Given that we've got -- I don't need to show it to

        14 you -- Group Manager Welch booking in at status 3 at

        15 01.57 --

        16 A. Yes.

        17 Q. -- and we have that make-up at FRU 10, does that help

        18 you in timing --

        19 A. Yes, that would be the time he would've walked -- he

        20 would've gone away from me. I think it would've been

        21 a point for discussion amongst the senior officers

        22 attending, and then the decision was made as a result of

        23 that to make FRUs 10.

        24 Q. Right, thank you.

        25 Now, I want to go back just to follow up one or two
        136

        1 things on the Hippel/Stern rescue or attempted rescue on

        2 the 16th floor.

        3 First of all, from your knowledge, do you know

        4 whether Hippel and Stern were at any time with the

        5 resident that they met on the stairs?

        6 A. No, I don't know that.

        7 Q. You don't know. Okay. I may have suggested to you

        8 inadvertently that Hippel and Stern were with him.

        9 A. I couldn't tell you.

        10 Q. About that rescue, can I ask you to look at a photograph

        11 and be shown, I think it is, tab 50 in the documents

        12 bundle. Mr Documents Director, it's MET00015642.

        13 This is a photograph we've seen before earlier this

        14 week which was taken, I think, by Justin O'Beirne, and

        15 we'll just wait until it comes up.

        16 Now, this is a photograph taken by Justin O'Beirne,

        17 as he tells us, and his evidence is that it was taken at

        18 02.17.

        19 A. Yes.

        20 Q. So a minute or so after the FRU make-up we've just seen,

        21 by coincidence.

        22 Could you just look at it with me -- hang on, is

        23 that the right one? -- I'm not sure that's the right

        24 one. Would you just give me a moment.

        25 (Pause)
        137

        1 First of all, if you could help us with this, it

        2 says "16th" up there -- well, let me ask you a prior

        3 question: do you know whose writing that is?

        4 A. Well, I would say it's either Justin O'Beirne or Watch

        5 Manager Louisa De Silvo.

        6 Q. And that information was coming from where, do you

        7 think?

        8 A. Okay. I don't know exactly the time that Watch Manager

        9 De Silvo came to the bridgehead. But when she came to

        10 the bridgehead, I detailed her to take control of BA

        11 control and FSG information.

        12 Q. Right.

        13 A. Before she came to the bridgehead, I had detailed

        14 Firefighter O'Beirne to utilise the wall to write up the

        15 FSG information because, as he had indicated to me, the

        16 forward information board was full, and when he did so,

        17 I instructed him to write it on the wall. So I don't

        18 know whose writing it is.

        19 Q. We'll come back to that photograph in a minute. I'm

        20 sorry, it's my fault, I've taken you to the wrong

        21 photograph.

        22 A. Okay.

        23 Q. But the information you've just given us about that

        24 photograph is important. I'll come back to it shortly.

        25 If you go, please, to the photograph at MET00013074,
        138

        1 which was JOB/8.

        2 (Pause)

        3 SIR MARTIN MOORE-BICK: Could you give the reference again?

        4 MR MILLETT: Yes, MET00013074.

        5 Yes, now, do you recognise that writing, that set of

        6 inscriptions?

        7 A. Not specifically. It would be what's written on the

        8 wall by our guys in the bridgehead.

        9 Q. Do you know who was writing that up?

        10 A. Again, it would be either -- well, not just Firefighter

        11 O'Beirne, but other individual firefighters and

        12 an officer, Watch Manager De Silvo, who came to the

        13 bridgehead, who were working on the bridgehead, as part

        14 of that team.

        15 Q. Can you help me with a particular inscription there. On

        16 the bottom right-hand corner you see, written at

        17 an angle from bottom-left to top-right, "113 8 people 14

        18 floor".

        19 A. Yes.

        20 Q. There it is in enlarged form.

        21 First of all, whose writing was that, do you

        22 remember?

        23 A. I don't remember.

        24 Q. Do you know when that was written there?

        25 A. I don't.
        139

        1 Q. Do you know the circumstances in which that came to be

        2 written there?

        3 A. It would be a fire survival guidance call.

        4 Q. That would be a fire survival guidance --

        5 A. That would be the circumstances.

        6 Q. Right. It says "113 8 people" --

        7 A. I remember when we had to -- when we eventually ended up

        8 in the lobby, having eight people in the vicinity still.

        9 But not that specific writing. I don't know who wrote

        10 it.

        11 Q. Okay.

        12 Can I just then go back to the photograph I was

        13 showing you before, which is at MET00015642.

        14 If we can enlarge it halfway down, it says: "113

        15 14th [floor]" --

        16 A. Yes.

        17 Q. -- with a tick next to it, "BA". What does that tick

        18 mean?

        19 A. That it's been searched, I would guess, but I didn't put

        20 the tick there, so I don't know.

        21 Q. All right.

        22 If we just pan out and just go back to the list,

        23 a little higher up you can see 133, 16th floor. Do you

        24 see that?

        25 A. Yes.
        140

        1 Q. Do you remember the circumstances in which that came to

        2 be written there?

        3 A. No.

        4 Q. Now, that's the 16th floor.

        5 Do you think that that came to be written there

        6 after Stern and Hippel had reported to you that they had

        7 not been able to make a rescue on the 16th floor?

        8 A. I couldn't say.

        9 Q. Right.

        10 Then if you look at MET00015624, which is

        11 a different photograph, I'll see if I can just cover

        12 this off, this is more fire survival guidance written on

        13 the wall. Looking again at floor 16 -- it looks like

        14 a different wall and a different set of numbers. Can

        15 you help with that?

        16 A. No. I know that the -- because I detailed people to

        17 write on the walls, that they were writing on the walls,

        18 but because I was so involved with other activities,

        19 I -- that's why I delegated this work to another watch

        20 manager, who was sent to assist me at the bridgehead.

        21 Q. You see it says "16 133" there, in a ring. Do you

        22 remember --

        23 A. Can you enlarge that, please?

        24 Q. Yes.

        25 A. I can't see.
        141

        1 Q. It will be enlarged.

        2 "16", and that looks like "133" there with a ring

        3 round it and a smudge next to it. Can you help with

        4 when that was put there?

        5 A. No.

        6 Q. Whether that was after Hippel and Stern --

        7 A. I don't know.

        8 Q. You don't know. Okay. We may have to come back to

        9 those photographs later.

        10 Can I then finish off this Hippel and Stern

        11 deployment.

        12 You said before the lunch break that as soon as they

        13 came down without having made the rescue on the 16th

        14 floor, you deployed another set of firefighters and you

        15 thought they were from Ealing.

        16 A. Well, I -- look, the system was such that if a rescue

        17 was not carried out by a crew that was detailed to carry

        18 out the rescue, a subsequent crew would be committed to

        19 the same -- until we could get a rescue or not.

        20 Q. Right, could you please be shown telemetry data in tab 1

        21 of the the documents bundle. We can see the end of wear

        22 time for Hippel and Stern at 01.38.35 and 01.38.40.

        23 No, that's not -- sorry, that's not the right

        24 document.

        25 Tab 1, the telemetry data. Yes.
        142

        1 First of all, let's start with the end of wear time

        2 for Hippel and Stern, and we see in the blue column at

        3 the right-hand side of the screen that the end of Hippel

        4 and Stern's wear time is 01.38.35 and 01.38.40.

        5 A. Okay.

        6 Q. How soon after their end of wear time do you think you

        7 dispatched the next set of BA wearers to the 16th floor?

        8 A. Immediately.

        9 Q. Right.

        10 A. Or as soon as one was available.

        11 Q. Right. So we're looking for a dispatch now at about

        12 that time.

        13 Now, looking down on the tally-out time in the green

        14 column, we've got a trio of BA wearers from Kensington

        15 and two from Hammersmith, Broderick, Brodrick and

        16 Sephton, tallying out at 1.38, 1.38.02 and 1.27. Do you

        17 think that might have been who you sent next?

        18 A. I don't know.

        19 Q. Okay.

        20 What about the five from Paddington, Hammersmith and

        21 Paddington, Wolfenden, James and Felton, Benjamin,

        22 et cetera, in blue?

        23 Do you think you sent five firefighters up to the

        24 16th floor?

        25 A. I wouldn't say I sent five up there. The ... again,
        143

        1 I couldn't tell you.

        2 Q. Okay. Well, rather than guessing, do you remember

        3 whether the next set of firefighters you sent to the

        4 16th floor was a pair or whether it was a group larger

        5 than a pair?

        6 A. I don't remember.

        7 Q. Right.

        8 You said you thought it was Ealing but, having

        9 thought about it again, do you remember what station

        10 they were from?

        11 A. No.

        12 Q. Right.

        13 So can I now turn to the next deployment, Murphy and

        14 Cornelius?

        15 A. Yes.

        16 Q. On page 10, you say, going back to your statement,

        17 a third of the way down:

        18 "I committed another crew, a four-person crew,

        19 Firefighters MURPHY and CORNELIUS and two others, who I

        20 can't recall, to go to flat 111 on the fourteenth floor

        21 where there was one adult male FSG."

        22 So that's a four-person team.

        23 If you just go back to the telemetry data, we can

        24 see their time of dispatch. I'm sorry to have taken it

        25 off the screen.
        144

        1 Cornelius tallies out at 01.51, if you look at the

        2 green column, and Desmond Murphy at 01.51.24. It looks

        3 as if they've gone as a pair, but do you think the other

        4 two below them, Campbell and Mills from Paddington, also

        5 went with them?

        6 A. I don't recall, but I do know they got split up on the

        7 way up.

        8 Q. Right.

        9 A. They were going up with two other firefighters, one --

        10 Q. Okay.

        11 A. Yeah.

        12 Q. Just using Cornelius and Murphy, then, we have their

        13 tally-out time at 01.51, more or less. That would be

        14 about right, would it?

        15 A. I actually met them when they came down.

        16 Q. I will come to when they came down in just a minute.

        17 Let me ask you some questions about what they discover

        18 when they go up.

        19 They go up. When they go up there, are you able to

        20 speak to them?

        21 A. Not on the way up, no. Before they went up, yes, but

        22 not on the way up.

        23 Q. What brief did you give them before they went up, do you

        24 remember?

        25 A. I told them to take firefighting equipment. They took
        145

        1 quite a lot of firefighting equipment. I said there's

        2 a fire, reports of fire, not just smoke, and that they

        3 had one individual in -- I cannot remember the number of

        4 the flat, adult male. And they were to -- firefighting,

        5 search and rescue.

        6 Q. Right.

        7 A. It's an FSG call, fire survival guidance call.

        8 Q. You said you had reports of actual fire in that flat?

        9 A. Yeah, that's why I sent them with the firefighting

        10 equipment.

        11 Q. Do you remember recording or having recorded on the wall

        12 or any of those walls by the bridgehead information that

        13 there was fire in that flat?

        14 A. I -- not me personally, no.

        15 Q. Okay.

        16 They go up.

        17 A. Yes.

        18 Q. Then they come back down again, and you say at the top

        19 of page 11 of your statement:

        20 "The BA crew of Firefighters MURPHY and CORNELIUS

        21 then returned to the Bridgehead, without the other two

        22 crew members. They didn't know where they had gone.

        23 They looked exhausted and reported to me that they had

        24 reached Flat 111 and found the male occupant."

        25 Pausing there, when they came back down, are we to
        146

        1 take it they gave you a debriefing?

        2 A. Yes. It was quite a troubled one because they were in

        3 very bad shape.

        4 Q. They were in bad shape?

        5 A. Yes.

        6 Q. And just in terms of their time at which they came back

        7 to the bridgehead, if we just look at the telemetry data

        8 again at tab 1 and look at their tally-out time, we have

        9 that in there as unrecorded, but an end of wear time, if

        10 you look at the blue column, of 02.18.35 and 02.19.34.

        11 Given that they tallied out at 01.51 or so, what

        12 would that tell you about how long they'd been up there

        13 and how easy it had been for them?

        14 A. It had been very difficult for them. They couldn't --

        15 Q. We can see --

        16 A. Go on.

        17 Q. We can see -- no, continue, sorry.

        18 A. No, you carry on.

        19 Q. You can see their final pressure there of 53 for Charles

        20 Cornelius and 78.47 for --

        21 A. Yes.

        22 Q. -- Desmond Murphy. Is that --

        23 A. That's quite low.

        24 Q. That's quite low?

        25 A. Yes. Your low pressure warning whistle sounds at
        147

        1 84 bar.

        2 Q. Yes.

        3 A. And you have got 12 minutes to get out, really.

        4 Q. And you say they were in quite bad shape?

        5 A. They were in bad shape, yes.

        6 Q. Could you just expand on what you mean by that?

        7 A. I could. They had abandoned their firefighting kit

        8 above. They didn't think they were going to make it out

        9 alive. That's what they said to me. That's what

        10 Firefighter Murphy said to me. They looked really

        11 shaken. They said that they couldn't see any of the

        12 door numbers, they didn't know which floor they were on,

        13 and I specifically remember Firefighter Murphy telling

        14 me that he had to use his firefighter's hand lamp to go

        15 up close to where a floor number -- to try and find out

        16 where they were.

        17 Q. Really?

        18 A. That they had found the individual of the flat but,

        19 because of the density -- and when they went there, they

        20 found another seven people from various flats who came

        21 to them for help. They were unable to take the eight

        22 people out.

        23 Q. Right.

        24 SIR MARTIN MOORE-BICK: Do you need a pause?

        25 A. Just give me a moment, please.
        148

        1 SIR MARTIN MOORE-BICK: Of course.

        2 (Pause)

        3 A. So I knew I had eight people now on that floor in one

        4 flat. They put the people in the flat which they deemed

        5 to be the least smoky flat and they reported that to me.

        6 As far as I recall, I deployed another BA crew

        7 immediately to that area. I don't know -- I'm really

        8 sorry, but at this point I can't remember most of the

        9 crews. I only know this because Firefighters Cornelius

        10 and Murphy are from my watch and they're friends of

        11 mine.

        12 Q. Just focusing on where they had found the other seven,

        13 was that in the same flat --

        14 A. Same floor.

        15 Q. Same floor, but in the same flat as the male occupant,

        16 flat 111 --

        17 A. Same floor, not the same flat, the same floor. They

        18 kicked the door in, I believe, and they found -- I won't

        19 say his name because I don't really want to say his

        20 name, I don't think it's relevant -- at the moment,

        21 I should say ...

        22 Q. It's okay, take your time.

        23 A. I'm okay.

        24 SIR MARTIN MOORE-BICK: Just take it at your own pace.

        25 (Pause)
        149

        1 A. And so they placed -- the only thing they could do was

        2 place people in a place which they considered to be safe

        3 at that time and they told them that somebody would come

        4 back to get them.

        5 MR MILLETT: Yes.

        6 You then say, halfway down page 11:

        7 "I passed on the information I received from

        8 Firefighters MURPHY and CORNELIUS to the Incident

        9 Commander and to WM De SILVO."

        10 A. I believe she was there then.

        11 Q. Now, in terms of passing it on to the incident

        12 commander, do you remember who that was at that stage?

        13 A. I asked for the -- I asked for them to bring that

        14 information out to the incident commander, and that

        15 would be recorded on the bridgehead for briefing other

        16 crews. That's really -- it was hectic at that time.

        17 Q. Do you remember the name of the incident commander at

        18 that point?

        19 A. I think it was Watch Manager Dowden. I don't know how

        20 many pumps it was at this stage or who had taken over.

        21 I wasn't aware of what was going on outside the tower.

        22 Q. Do you remember that a major incident had been declared?

        23 A. I wasn't made aware of that at all.

        24 Q. Was the conversation or the debrief you had with Murphy

        25 and Cornelius after your conversation with Group Manager
        150

        1 Welch about EDBAs?

        2 A. Before.

        3 Q. It was before?

        4 A. Certainly was before.

        5 Q. Okay. Long before?

        6 A. I don't know.

        7 Q. Right.

        8 So based on their tally or their end of wear time

        9 that we've seen, you can't tell us, can you, who the

        10 incident commander was?

        11 A. No.

        12 Q. When you say you passed it on to the incident commander,

        13 can you tell us what you did?

        14 A. Well, I couldn't make any comms. I was in contact with

        15 various officers who were coming to the bridgehead.

        16 I was giving them information and I was giving

        17 information -- any information I had. They would also

        18 give that information -- Firefighters Cornelius and

        19 Murphy would give that information to the entry control

        20 board and whoever was running that system at the time.

        21 Q. Do you think that Watch Manager De Silvo recorded the

        22 information that Murphy and Cornelius had given to you?

        23 A. If she was there, she certainly would have.

        24 Q. Can I just ask you to look at a photograph again.

        25 I think it's one we looked at a moment ago, but coming
        151

        1 back to it. It's [MET00013074].

        2 Again, this may not be the right one, so we may have

        3 to look at one or two others. Are you all right with

        4 that, Mr O'Keeffe?

        5 A. I am.

        6 Q. Let's start with that one.

        7 Yes. So we looked at this before. This is where we

        8 see "113 8 people 14 floor", bottom-right there.

        9 Having been through the story now telling us about

        10 the debrief you got from Murphy and Cornelius, can you

        11 explain that writing on that wall there?

        12 A. Well, floor 9, flat 65 would be Soho's crew of four, and

        13 their names are there. I can't see the writing at the

        14 end. Three rooms.

        15 Johnson and Roots, 14th floor --

        16 Q. I'm sorry, I'm going to interrupt you. It's the writing

        17 which isn't in a ring or box that we looked at a minute

        18 ago. If it can be enlarged, please.

        19 A. Yes, please.

        20 Q. It's in the bottom right-hand corner of the picture. So

        21 "113 8 people 14 floor", there. That writing on the

        22 wall there.

        23 A. That's the flat they would've been put into.

        24 Q. Do you think that -- I don't want you to speculate.

        25 A. No, that would be it.
        152

        1 Q. That would be it?

        2 A. Yes.

        3 Q. That would be what, De Silvo recording --

        4 A. That would be the recording of the information that

        5 they'd given over.

        6 Q. Right, okay. So we have it. Okay.

        7 A. Okay.

        8 Q. Then you say you detailed another BA crew to rescue the

        9 occupants of floor 14?

        10 A. Yes. Yes, I did.

        11 Q. Are you ready to go on or would you like a break?

        12 A. I can go on.

        13 Q. Okay, all right.

        14 A. I'm okay.

        15 Q. Okay. Now, just to put you back in your statement, this

        16 is just before halfway down on page 11, you say:

        17 "I then detailed another BA crew to rescue the

        18 occupants of floor 14."

        19 Was that an urgent matter for you?

        20 A. Everything was urgent.

        21 Q. Right. I just want to try and see if I can get

        22 an indication of who that might have been in that crew.

        23 First of all, do you remember what you said when you

        24 briefed the new BA crew?

        25 A. No. To be -- as I cannot recollect briefing the new
        153

        1 crew, it may have been Watch Manager De Silvo or

        2 somebody that briefed that crew on where -- on the

        3 location, because when Chelsea's Watch Manager De Silvo

        4 arrived, because of the volume of information and to

        5 control that information, I put watch manager -- her,

        6 Louisa De Silvo, in charge of that task specifically.

        7 Q. I see.

        8 We have some evidence from witness statements that

        9 a firefighter called Orchard and Herrera were briefed to

        10 go to the 14th floor, to go to flat 111.

        11 A. Okay.

        12 Q. Is that something that rings a bell with you?

        13 A. No.

        14 Q. It doesn't.

        15 What about the names Juggins and McAlonen?

        16 A. No.

        17 Q. No?

        18 Can I just show you an entry in the telemetry data

        19 again?

        20 A. Yes, of course.

        21 Q. If you go to the bottom of "BA Time Line (3)" and

        22 there's a white box of five BA wearers, three from

        23 Lambeth, one from Chelsea and one from Soho, Evans,

        24 Bloxham, Herrera, Ferguson and Orchard, who tally out

        25 at --
        154

        1 SIR MARTIN MOORE-BICK: Just a minute, Mr Millett, are we

        2 looking at the right part?

        3 MR MILLETT: BA Time Line (3).

        4 Great, thank you.

        5 If you look at the top of that now you'll see

        6 a block of five firefighters, three from Lambeth, one

        7 from Chelsea, one from Soho, all tallying out at 02.24

        8 and 02.26 and then 02.27.

        9 A. Yes, I recognise one there.

        10 Q. Does that trigger --

        11 A. A few of the names, actually.

        12 Q. Does that trigger a recollection in whether or not that

        13 group was the group --

        14 A. No, they weren't. They were the group that found the

        15 firefighter who was lost.

        16 Q. I see.

        17 A. I remember distinctly when they came they brought the

        18 firefighter with them.

        19 Q. I don't want to fish around in this seeing if I can

        20 prompt a recollection.

        21 Let me leave it this way: do you remember the size

        22 of the BA contingent that you sent in order to rescue

        23 the occupants of floor 14?

        24 A. No.

        25 Q. You don't.
        155

        1 Do you remember what happened when that second crew

        2 that you had briefed came back to the bridgehead?

        3 A. No.

        4 Q. Do you think you had a debrief with them?

        5 A. No. I didn't, no.

        6 Q. Did anybody else have a debrief with them, do you think?

        7 A. You'll have to ask Watch Manager Louisa De Silvo for

        8 that one.

        9 MR MILLETT: Right.

        10 Now, jumping ahead, if I can, in your statement --

        11 I am going to go on to a different document.

        12 Now, you've been going for 30 minutes. I think it's

        13 probably time for a short break.

        14 SIR MARTIN MOORE-BICK: Would that be a good thing?

        15 THE WITNESS: I think it would be.

        16 SIR MARTIN MOORE-BICK: Yes, I thought you might.

        17 We'll have a break for 10 minutes. Back here at

        18 2.40, no discussing your evidence.

        19 THE WITNESS: Okay, thank you.

        20 SIR MARTIN MOORE-BICK: Thank you very much.

        21 2.40, then, please.

        22 (2.32 pm)

        23 (A short break)

        24 (2.40 pm)

        25 SIR MARTIN MOORE-BICK: You all right, Mr O'Keeffe?
        156

        1 THE WITNESS: Yes, sir.

        2 SIR MARTIN MOORE-BICK: Mr Millett, I think I can say

        3 without too much fear of contradiction that we're all

        4 feeling the heat a bit. I'm sure Mr O'Keeffe is. I am,

        5 and maybe you are and others too.

        6 So I think what we should do is to finish this

        7 afternoon's session by 3.15. If you reach a natural

        8 point before then or a little bit before then --

        9 MR MILLETT: It will be welcome.

        10 SIR MARTIN MOORE-BICK: -- we'll take that, otherwise we'll

        11 finish at 3.15 and I think give you a bit of respite.

        12 THE WITNESS: Thank you very much.

        13 MR MILLETT: Yes, Mr Chairman.

        14 Mr O'Keeffe, thank you very much.

        15 Can I take you to page 15 of your witness statement.

        16 I am going to just ask you to look at the bottom of

        17 that page, and I want just to give you enough

        18 opportunity to look at that so we can identify perhaps

        19 when in time these things are happening.

        20 You say, eight lines up from the bottom:

        21 "It was also apparent now that all BA crews were

        22 EDBA crews. There was a lot of noise and shouting in

        23 the lobby. I was continually handed pieces of paper by

        24 runners because the comms were no longer working. We

        25 had the very old-fashioned, but dependable, method of
        157

        1 people physically getting numbers from the Command Unit,

        2 and then running the gauntlet of debris and other things

        3 coming down on them to then give me pieces of paper into

        4 my hand. All of these numbers went onto the wall and it

        5 grew and grew. I kept all of these pieces of paper and

        6 put them into my trouser pocket. After the incident, I

        7 took them from my pocket and carefully unstuck them from

        8 each other. They have subsequently been handed to the

        9 LFB accident investigators."

        10 Now, we think we have those as -- just help me --

        11 LFB00001929, if we can just have a look at that.

        12 A. Yes, that's the -- so that was in the lobby when we had

        13 to evacuate the third floor bridgehead. I believe it

        14 was an emergency evacuation. And that would have been

        15 around 4 o'clock. I remember seeing the -- the reason

        16 I know this is you have 04.20 on one of them and 04.05,

        17 which is the time of the morning it was. So at that

        18 time we had -- well, before that, the entire bridgehead

        19 was evacuated, and these pieces of paper were being

        20 handed to me directly and I was putting them -- I drew

        21 a map on the wall of the tower, a pictogram, and I was

        22 transcribing this information onto the wall.

        23 Q. Okay. Let me see if I can piece this together, then.

        24 So these pieces of paper --

        25 A. Yes.
        158

        1 Q. -- you were getting, when did you start getting pieces

        2 of paper like this?

        3 A. (Nodded assent).

        4 Q. When did you start getting these pieces --

        5 A. When did I start?

        6 Q. Yes.

        7 A. Those pieces of paper? When I was on the ground floor,

        8 in the lobby.

        9 Q. So when the bridgehead was on the ground floor in the

        10 lobby?

        11 A. That was towards the -- well, that was the latter stages

        12 of the incident.

        13 Q. Yes. So you weren't -- is this right? -- getting pieces

        14 of paper like this before that?

        15 A. I think I may have. I didn't have them in my tunic.

        16 Q. Right.

        17 A. I just happened to put these together because there were

        18 so many coming, and I -- I didn't deliberately --

        19 I probably did at the time, I don't recall, I put them

        20 in a bundle and put them in my leggings or my tunic, my

        21 firefighting kit.

        22 Q. Who was giving you these pieces of paper?

        23 A. Mainly Watch Manager Watson.

        24 Q. Where were you standing when he was giving them to you?

        25 A. I was standing at the end of the stairs, at the very
        159

        1 beginning of the stairs in the lobby.

        2 Q. In the lobby, the ground-floor lobby?

        3 A. Ground floor, yes.

        4 Q. Where was Watch Manager Watson getting them from?

        5 A. He would have been getting them from the side -- if you

        6 put a map up, I could probably -- the firefighters had

        7 broken in a new -- so not the front of the building,

        8 which was the south side, it would've been the west --

        9 possibly the west -- western side, there was a door.

        10 They made an opening there which was the only safe

        11 access at that time into the building, or semi-safe

        12 access, and he was picking up -- I believe picking up

        13 the paper. So they were -- somebody would run to the

        14 door and hand it to him and he would run to me, give it

        15 to me, or walk to me.

        16 Q. Do you know who it was that was writing this information

        17 on these pieces of paper?

        18 A. I don't.

        19 Q. Is it what was happening that these pieces of paper with

        20 writing already on them was being given to Watch Manager

        21 Watson --

        22 A. Who was then giving them to me.

        23 Q. Then giving them to you.

        24 And you don't know where -- or do you know where --

        25 the person who gave this information to Watch Manager
        160

        1 Watson got it from?

        2 A. I will tell you that those pages are from an officer's

        3 notebook. We all carry them in our tunics for recording

        4 reasons. So they were being written on this, on these

        5 pieces of paper, and they were being handed to me

        6 individually. So I would then transcribe that

        7 information onto the wall and then brief oncoming EDBA

        8 crews of, for example, 14th floor, 112, 14th floor, 113

        9 and so on.

        10 Q. The time of 04.10 --

        11 A. 04.10, 04.20, 04.05, around that time.

        12 Q. Was that the time, to your understanding, that that

        13 information had been recorded --

        14 A. Yes.

        15 Q. -- when the person who wrote this on there wrote it?

        16 A. Yes, without a doubt. There would be a delay of

        17 a couple of minutes while the information was being

        18 transported to me.

        19 Q. Right. You can see 04.30 on the right-hand side, "82",

        20 it looks like "11th", "3 pers"?

        21 A. Three persons, yes.

        22 Q. Did you get much information in addition to what we see

        23 on these pieces of paper --

        24 A. No.

        25 Q. -- about the number of people in particular apartments?
        161

        1 A. Yes, so in 122 -- I mean, looking at the paper now, yes,

        2 we would've had number of persons or not.

        3 Q. Yes.

        4 A. As the case is. But when you were given a flat number,

        5 you know there are people in there.

        6 Q. Did you understand that this meant -- just take for

        7 example 04.10 -- list of flats on the 14th floor there,

        8 did that mean to you that there was still residents --

        9 A. Yes.

        10 Q. -- in those flat at 04.10?

        11 A. Yes.

        12 Q. Right. So you took that information into your hand.

        13 What did you do with it?

        14 A. So I drew a pictogram of the tower on the wall next to

        15 me and I put these numbers on the wall in an order that

        16 I could understand and I could brief the crews with.

        17 Q. Did you brief the crews with it?

        18 A. Yes.

        19 Q. What did you tell them. Do you remember? Take for

        20 example 04.10, flat 113, for example.

        21 A. Well, okay, you're going to flat 12 -- sorry, flat 92 on

        22 the 12th floor, and that would be -- there would be more

        23 to the briefing than that, but the specifics of life

        24 risk, that's it, and where they are.

        25 Q. Okay.
        162

        1 Now, we have some evidence that a watch manager

        2 called Alan Moore ran slips from outside the tower from

        3 a crew manager up to the bridgehead and gave them to

        4 a watch manager he thinks might have been you.

        5 A. Yes.

        6 Q. He did the same thing when he got to the ground floor.

        7 Does that trigger a recollection? Do you remember that?

        8 A. Yes. Watch Manager Watson wasn't the only person giving

        9 the information, but towards the latter part, he was the

        10 only person coming in with information. But other

        11 officers were handing me slips. If I can contextualise,

        12 this was, you know, an 8-hour span.

        13 Q. No, I understand.

        14 A. It was a deluge of information.

        15 Q. I understand.

        16 To the best of your understanding, was there any

        17 kind of prioritisation being applied to these --

        18 A. They were all prioritised. Every fire survival guidance

        19 call has the same level of priority. They have the same

        20 heightened state of urgency. It's as quick as you can

        21 and as best as you can.

        22 Q. Right.

        23 Can I just ask you to look at one or two other

        24 documents. First of all, LFB00001951, which is

        25 a standard form control information form, 6178.
        163

        1 A. Yes.

        2 Q. That's got "133" scribbled out and it says "left", and

        3 then "134 + 135 16".

        4 Do you recognise that handwriting?

        5 A. No, I don't recognise the handwriting.

        6 Q. Do you recognise the document?

        7 A. I do recognise the document.

        8 Q. Could you explain what that is?

        9 A. That document is carried in all front-line appliances,

        10 operational fire engines. As you can see on the top,

        11 there are four copies, and when fire crews receive

        12 information from our control on fire survival guidance

        13 now in progress, meaning they have persons confirmed

        14 trapped within a building, usually the driver of the

        15 appliance -- but if not, somebody available, a

        16 firefighter or officer -- would put the information on

        17 this form.

        18 Q. Do you remember receiving documents such as this when

        19 you were managing the bridgehead?

        20 A. Possibly, I don't remember.

        21 Q. Right, let's see if the next one triggers

        22 a recollection.

        23 LFB00001961. Same kind of form. This one says:

        24 "Premise number: 142 + 143 17 floor."

        25 At the top someone has written "Priory", which I
        164

        1 imagine is, "Priority", 5 persons, it looks like, in

        2 142. The time is 04.13.

        3 Do you remember receiving this document?

        4 A. Again, possibly. The only reason I know that the other

        5 documents -- that I received the smaller ones is because

        6 I found them a week later in my tunic. I hadn't

        7 remembered getting them.

        8 Q. Right. I see. So you found these in your tunic, did

        9 you, afterwards, this --

        10 A. Yes, when we go to incidents where -- this was quite

        11 an involved one, our fire gear gets contaminated by

        12 various reasons, and the correct procedure is to have it

        13 cleaned. We keep a stock in stations, so you would put

        14 it in for specialist cleaning. And we keep a lot of --

        15 we keep a lot of personal items and notebooks in our

        16 fire gear, so I was taking all the stuff out of my

        17 pockets before I submitted it for cleaning and I found

        18 those documents, which I considered important --

        19 Q. Yes.

        20 A. -- to any subsequent inquiry, so I gave them to our own

        21 senior management team, who forwarded them to the

        22 police.

        23 Q. Yes, I see. Okay.

        24 Just going back a little bit earlier in time in the

        25 evening, could I just ask you to be shown page 41 of the
        165

        1 ORR. This is the operational response report at

        2 01.26.54.

        3 I just want to ask you one or two questions to see

        4 how far we can go.

        5 A. Okay.

        6 Q. With this information, it may not be that far, but let's

        7 see.

        8 It's a call recorded by Brigade control at 01.26.54

        9 from flat 186 on the 21st floor.

        10 Do you remember being on the bridgehead when that

        11 fire survival guidance information came through?

        12 A. No. I mean, if it was 01.26, I was on the bridgehead,

        13 but I don't remember that specific information.

        14 Q. No.

        15 A. Can I just say, there were hundreds of calls coming

        16 through.

        17 Q. And then at 01.38.38, we have a call -- this is page 67

        18 of the operational response report, I wonder if you

        19 could just be shown that -- being taken by Fire Brigade

        20 control which is flat 183 on the 21st floor.

        21 Again, the same question, do you remember anything

        22 about that?

        23 A. No.

        24 Q. Page 81, if we just look at that. There's a call there

        25 timed at 01.50.49 relating to flat 133 on floor 16,
        166

        1 we've discussed, and flat 182 on the 21st floor.

        2 Do you remember anything about fire survival

        3 guidance coming in after that time in relation to

        4 flat 182 on the 21st floor?

        5 A. Not specifically, but I remember there being multiple

        6 calls. So I don't know if -- again, I mention it again,

        7 Watch Manager De Silvo, who was managing the FSG on the

        8 bridgehead, she may be able to shed more light on it, or

        9 firefighters O'Beirne or De St Aubin.

        10 Q. Yes.

        11 A. Amongst other officers.

        12 Q. Yes. Just to case that one down just a little bit

        13 further, if you could just be shown MET00015625. This

        14 is the photograph I showed you before. It's

        15 a Justin O'Beirne photograph which he took just before

        16 moving from the bridgehead at 3.08 am. That's what he

        17 told us.

        18 A. That's when the bridge was evacuated, and I asked my

        19 crew to photograph the wall, which they did. We had to

        20 save the information, bring it with us. So we grabbed

        21 the breathing apparatus boards and took photographs of

        22 what was on the wall and brought it with us to the

        23 ground floor.

        24 Q. Yes.

        25 In that photograph, can you just see it says, just
        167

        1 below the top of the list, "21", and then there's a tick

        2 next to "204", and then "182" has a circle around it and

        3 a tick thorough it.

        4 Do you know what the circle around it means?

        5 A. No, I don't, but -- I don't, no. I can only guess and

        6 I don't want to do that. I can only, you know, make

        7 an experienced guess, but nevertheless a guess. So, no,

        8 I don't.

        9 Q. And the tick through it, do you know what that

        10 represents?

        11 A. Well, when I was doing similar work downstairs, a tick

        12 would mean it's searched, a cross would either mean

        13 deceased or rescued.

        14 Q. Right. If you continue on page 81 in the operational

        15 response report, it says ...

        16 (Pause)

        17 I'm sorry, I've given you a wrong reference and got

        18 my own wrong reference, so we won't ask, but in general

        19 terms, were you aware of requests coming through from

        20 control to prioritise calls?

        21 A. In general terms, yes.

        22 Q. Was there a message that had come through to prioritise

        23 based on smoke density?

        24 A. The priority would be on normally proximity to fire, or

        25 it'd be density of the smoke, you know. If information
        168

        1 was received from the residents that there was fire

        2 nearby, that would be given priority, yes.

        3 Q. I have a question about an early evacuation. Do you

        4 remember a man coming out of a flat on the second floor

        5 in the very early stages of the fire?

        6 A. People did come down in the very early stages of it.

        7 Some were okay.

        8 Q. Right.

        9 A. Because there wasn't anything -- the severity hadn't

        10 developed at that time.

        11 Q. Do you remember somebody coming out of a flat on the

        12 second floor and being told to go back into his flat?

        13 A. No.

        14 Q. Do you remember somebody making a 999 call and being

        15 told someone's coming to get you?

        16 A. I beg your pardon?

        17 Q. In that flat, a flat on a low floor.

        18 A. On the second floor?

        19 Q. Yes.

        20 A. Well, that's where we were, on the second floor, and

        21 I don't remember that, no.

        22 Q. Right, okay.

        23 Can I just ask you to go back to one more picture,

        24 which is MET00015642. We looked at it a number of times

        25 in relation to different flats. I'm sorry to keep
        169

        1 jumping about, but you'll see on this, if you look at

        2 the whole -- there.

        3 Three-quarters of the way down you can see "122 15th

        4 smoke", do you see that?

        5 A. Sorry, can you repeat that?

        6 Q. You can see that there it says "BA 122 15th smoke".

        7 A. Okay, that would signify that in flat 122 on the 15th

        8 floor it was smoke, either in the vicinity or in the

        9 flat.

        10 Q. That's what I was going to ask you: do you think it

        11 refers to smoke within the flat?

        12 A. You'd have to ask the control operators about that one.

        13 Q. Can you help us as to where the information about smoke

        14 would've come from?

        15 A. That came from the occupant of the flat to our control

        16 and then to us via the usual circuitous route.

        17 Q. From the occupant of the flat through the control

        18 room --

        19 A. Correct.

        20 Q. -- to the command unit and then through the fire ground,

        21 moving its way up to you there?

        22 A. Yes, that's how fire survival guidance works or calls

        23 work.

        24 Q. So it was via fire survival guidance calls?

        25 A. Yes.
        170

        1 Q. Thank you.

        2 Now can I then ask you about how high firefighters

        3 could get into the building, starting at page 11 of your

        4 statement. I think we've covered this before, but

        5 I just want to start from this point.

        6 You say three-quarters of the way down page 11:

        7 "Our BA crews were reporting that they were unable

        8 to reach the upper floors, before reaching their

        9 turn-around time."

        10 You say you transmitted that to the incident

        11 commander. Do you remember which incident commander it

        12 was that you told that to?

        13 A. Richard Welch, Group Manager Welch.

        14 Q. Right. Would that be at the same time as this earlier

        15 conversation about EDBA --

        16 A. Yes.

        17 Q. Right.

        18 A. If I can remind you, he said, "What are you doing, what

        19 tactics or activity are you employing?" And I told

        20 him -- I can't remember the exact words of the entire

        21 conversation, except that it wasn't working, we couldn't

        22 successfully reach certain areas, and that to do that

        23 would require at the very minimum extended duration

        24 breathing apparatus crews to give us more -- well, more

        25 resources to do that.
        171

        1 Q. Yes. And then over the top of the next page, you say,

        2 page 12, that you made the decision to allow BA crews to

        3 go past entry control point without going under air.

        4 A. Yes.

        5 Q. "This is way outside Policy but we weren't reaching and

        6 rescuing people because crews were running out of air."

        7 A. That's correct.

        8 Q. I see. So given the conditions in the stair, do you

        9 think that actually saved much time for those

        10 firefighters?

        11 A. Yes.

        12 Q. It did? How much further do you think that enabled them

        13 to get --

        14 A. I don't know. My information is that you could get up

        15 to a certain level where it became really difficult with

        16 smoke, you know, really smoke-logged. I can't remember

        17 the actual level. So I thought if I extended the

        18 duration of the standard duration BA crews, it would

        19 give them the safety margin and more air to allow them

        20 to either try and rescue or at least get back out

        21 themselves.

        22 Q. Yes.

        23 You go on to say lower down in that paragraph, that

        24 was a hard decision --

        25 A. It was.
        172

        1 Q. -- and increased danger to the BA crews themselves.

        2 Then you say:

        3 "I also detailed the BA crews to commit without

        4 firefighting media and breaking-in kit because we didn't

        5 have enough of it."

        6 So does that mean you're sending firefighters up

        7 into the building without water?

        8 A. Correct, yes. We ran out of firefighting equipment,

        9 specifically branches, very early on, and I remember at

        10 one point -- I remember the moment very clearly, I had

        11 about eight or nine fresh BA wearers on the balcony, and

        12 I was talking to Watch Manager Watson, and I looked

        13 along and I said, "Okay, you got all the equipment,

        14 where are the branches?" He said, "We don't have any

        15 left." There were so many calls coming in for rescue

        16 that I made the decision, I said, "I can't wait any

        17 longer, we have to commit."

        18 Q. Do you remember whether any firefighters were taking BA

        19 sets up for residents to wear on the way down?

        20 A. No.

        21 Q. You don't remember that?

        22 A. No.

        23 Q. Okay.

        24 A. What I did tell the firefighters, because one did

        25 challenge me -- and rightly so -- about not taking
        173

        1 firefighting kit upwards. He probably didn't know the

        2 circumstances that we were in at that time, but I just

        3 said to him, look, there is a lot of equipment abandoned

        4 throughout the building by other crews, the initial

        5 crews dropped their kit everywhere, and to use that.

        6 Q. Right. I see.

        7 This dropped kit, was that on the stairwell?

        8 A. Yes. In the lobbies and the stairwell. Probably mainly

        9 in the lobbies.

        10 Q. Did that assist or not assist the exit route?

        11 A. I don't know.

        12 Q. Okay.

        13 Mr O'Keeffe, is it all right if I just ask you

        14 5-minutes' more questions?

        15 A. Yes, go on. Glad you asked me, thank you!

        16 Q. I can see the clock and you can't.

        17 I just want to talk about what happened when Station

        18 Manager Andy Walton came to the bridgehead. In the

        19 middle of page 12, you say:

        20 "A Station Manager then arrived at the

        21 Bridgehead ..."

        22 Well, me take a step back, you say:

        23 "Crews began reporting that it was zero visibility

        24 and extremely hot and that they were unable to determine

        25 floor, or flat numbers. Light smoke was now apparent in
        174

        1 the vicinity of our Bridgehead."

        2 When did the light smoke appear in the vicinity of

        3 the bridgehead? You described earlier --

        4 A. Again, only when doors were opening and it wasn't

        5 permanent.

        6 Q. Right. Then you say:

        7 "A Station Manager then arrived at the Bridgehead

        8 and said to me that he was taking over and asked who was

        9 in charge. I didn't know who he was at the time, but I

        10 now know him as SM Andy WALTON. I briefed him that I

        11 was in charge ..."

        12 Then you say:

        13 "... we then had a robust discussion, he stayed

        14 there only a very short time. Then he left and we

        15 didn't see him again."

        16 I read that all to you because there's a number of

        17 questions.

        18 First of all, you say you had a robust discussion

        19 with him; can you explain what the discussion was about?

        20 A. Not entirely, but he appeared agitated and he wasn't

        21 calm.

        22 Q. Right.

        23 A. I wanted to keep calm control of the bridgehead.

        24 I believe he said he wanted people to go down the

        25 stairs. We had at that time rescues going on. My
        175

        1 judgment was that we should stay put, and I said that to

        2 him and I said that I was in charge, even though --

        3 I know he's a senior rank to me -- he wasn't -- it

        4 wasn't an argument as such, but just me firmly telling

        5 him we were staying there.

        6 Q. What did you say to him, do you remember?

        7 A. "I am in charge here of the bridgehead". He asked who

        8 was in charge of the bridgehead, I said, "I am."

        9 Q. Okay. Did you say anything to him about the stay-put

        10 policy?

        11 A. No.

        12 Q. Right. Did you say anything to him about what tactics

        13 were being adopted by way of search and rescue inside

        14 the building?

        15 A. No.

        16 Q. Do you remember what information you were able to give

        17 to Station Manager Walton about the process you had in

        18 place at the bridgehead?

        19 A. I just told him multiple FSG calls.

        20 Q. Did you give him an impression of how successful some of

        21 the deployments had been?

        22 A. No, but I assumed that he would know that we were

        23 carrying out rescues.

        24 Q. Right.

        25 A. I just took it for granted that he would have been
        176

        1 appraised elsewhere.

        2 Q. Okay.

        3 In terms of timing, let me see if I can get the

        4 timing of this.

        5 Walton, do you have this discussion with him prior

        6 to your discussion with Group Manager Welch?

        7 A. Yes.

        8 Q. I see. And do you remember whether the discussion you

        9 had with Walton was prior to pumps being made 40?

        10 A. What time were pumps made 40?

        11 Q. Pumps were made 40 at, I believe, 02.04.

        12 A. Yes, that would've been before that.

        13 Q. Right. Before I mislead you with that, let's get

        14 absolute clarity on that.

        15 Yes, well, unfortunately the short incident log says

        16 02.03, make pumps 25. Now, that's clearly a mistake,

        17 but that's about the time when pumps were made 40,

        18 according to another log we have.

        19 A. I wasn't made aware it was made pumps 40. I was far,

        20 far too involved in what we were doing in the tower.

        21 Q. Okay, all right.

        22 But at any rate, it was before you say you had your

        23 discussion with Group Manager Welch --

        24 A. That's correct.

        25 Q. -- about EDBA?
        177

        1 A. In fact, I will tell you that the discuss with

        2 Group Manager Welch, quite soon after I had a discussion

        3 with Station Manager Walton, very soon afterwards,

        4 within about 5 minutes.

        5 Q. Right.

        6 You say he left after a short time; do you know what

        7 he went off to do?

        8 A. I don't. He was busy.

        9 Q. He was busy?

        10 A. I don't know where he want.

        11 Q. He basically left you doing what you were doing?

        12 A. Yes.

        13 Q. I see.

        14 Did you know that he went off to manage the queue of

        15 BA wearers on the balcony?

        16 A. No.

        17 Q. Did you have any ongoing connection or role with Andy

        18 Walton after that?

        19 A. Pardon?

        20 Q. Did you have any ongoing connection or role to play with

        21 Andy Walton after he left you?

        22 A. No.

        23 Q. Right.

        24 (Pause)

        25 Similarly, once Group Manager Welch had left you
        178

        1 after the initial conversation about EDBA --

        2 A. Yes.

        3 Q. -- did he just leave you to carry on with what you were

        4 doing?

        5 A. He let me carry on with what I was doing, but he kept

        6 coming back -- he came back about -- after that. He

        7 came back to -- and I had the discussion about moving

        8 the bridgehead up to the third floor.

        9 Q. And did he then become bridgehead commander?

        10 A. Well, I'm assuming if you're a fire sector commander,

        11 you're in charge of the bridgehead, but I continued

        12 doing what I was doing on the bridgehead. He would come

        13 back occasionally.

        14 Q. Was there a time when Group Manager Welch and a man

        15 called Patrick Goulbourne took over at the bridgehead?

        16 A. No, I'll tell you what happened. I suggested to

        17 Group Manager Welch that we can move the bridgehead up

        18 further.

        19 Q. Right.

        20 A. And he said okay, you know, and I said, well, what

        21 I would do is I would reconnoitre with another Crew

        22 Manager Sephton from Hammersmith to look at the

        23 viability above the second floor, so we went to the

        24 third and fourth and tried to go to the fifth, but the

        25 fifth was a no-goer. The fourth had -- well, the fourth
        179

        1 was on fire, so we couldn't use that as a bridgehead.

        2 The lobby had a lot of black rolling smoke in it. So we

        3 went to the third floor, and the third floor looked

        4 okay, so I went back to Group Manager Welch and then

        5 he -- well, I said, "We can do this, we can put it

        6 there", and he said okay, and then Group Manager

        7 Goulbourne and a Station Manager Cook came up to the

        8 third floor with me, I suppose to verify my judgment,

        9 and they had to as senior management, and that's how

        10 that was established.

        11 Whilst we were there, Station Manager Cook received

        12 the fire survival guidance call on his Airwave radio,

        13 from -- coming from the third floor.

        14 Q. Right. Okay.

        15 SIR MARTIN MOORE-BICK: Would that be a good point,

        16 Mr Millett?

        17 MR MILLETT: That would be as good a point as any.

        18 SIR MARTIN MOORE-BICK: All right.

        19 MR MILLETT: Thank you very much. Yes.

        20 SIR MARTIN MOORE-BICK: Mr O'Keeffe, we're going to stop

        21 there for the afternoon, but before I let you go, we've

        22 just got to sort something out.

        23 Mr Millett, I take it you have a few more questions

        24 you would like to ask Mr O'Keeffe?

        25 MR MILLETT: I have a few more questions continuing on the
        180

        1 theme we've just been on, just to try to break that up

        2 a bit more, but not much more after that. I think in

        3 terms of time I don't want to be more than another

        4 30 minutes with Mr O'Keeffe.

        5 SIR MARTIN MOORE-BICK: Well, Mr O'Keeffe, you've given us

        6 a lot of very useful evidence already, but as you've

        7 heard, Mr Millett is not quite satisfied; he'd like to

        8 ask you about a few other things. So can I trouble you

        9 to come back on Monday morning?

        10 THE WITNESS: That's fine. I'll come back on Monday.

        11 SIR MARTIN MOORE-BICK: These are long days; I think we'll

        12 start at 10 o'clock on Monday.

        13 MR MILLETT: Yes.

        14 SIR MARTIN MOORE-BICK: So could you be here ready to resume

        15 at 10 o'clock on Monday?

        16 THE WITNESS: Yes.

        17 SIR MARTIN MOORE-BICK: Although I'm sure a lot of people

        18 would like to talk to you about what's been going on and

        19 so on, could you remember not to talk about your

        20 evidence or the circumstances.

        21 THE WITNESS: Yes.

        22 SIR MARTIN MOORE-BICK: If you would like to go with the

        23 usher, I will look forward to seeing you on Monday

        24 morning.

        25 THE WITNESS: Thank you, sir.
        181

        1 MR MILLETT: Thank you very much.

        2 (Pause)

        3 SIR MARTIN MOORE-BICK: Now, Mr Millett, is there anything

        4 else we need to deal with?

        5 MR MILLETT: Mr Chairman, I cannot think of anything at the

        6 moment. No, there isn't.

        7 SIR MARTIN MOORE-BICK: All right, thank you very much.

        8 MR MILLETT: Thank you very much. Thank you.

        9 SIR MARTIN MOORE-BICK: We'll stop there for the day.

        10 I'm sorry it's been a rather warm day. I've tried

        11 to improve the temperature without a great deal of

        12 success, as you will have realised, but I hope perhaps

        13 we can do better next week.

        14 Anyway, I look forward to seeing you all on Monday

        15 morning at 10 o'clock. Thank you.

        16 (3.18 pm)

        17 (The hearing adjourned until Monday, 9 July 2018 at

        18 10.00 am)

        19 INDEX

        20 BRIEN O'KEEFFE (continued) ...........................2
        Questions by COUNSEL TO THE INQUIRY ..............2
        21 (continued)

        22

        23

        24

        25
        182